## Circuit Breakers and Fuses
ImportTicket-xlsx-zsx22ii8k1q&Tx | ลำดับ | รายละเอียดสินค้า
|  | ชื่อหมวดหมู่ชั้นที่ 1 | ชื่อหมวดหมู่ชั้นที่ 2 | ชื่อหมวดหมู่ชั้นที่ 3 | ชื่อสินค้า | รหัสสินค้า | MPN | Brand | ราคาสินค้า | Picture | Datasheet | รายละเอียดย่อ | รายละเอียดเต็ม | หัวข้อฟีเจอร์ | รายละเอียดฟีเจอร์
Example > | 0 | Product Category 1 | Product Sub 1 | Product Sub-sec 1 | Example Product | P0001 | N/A | Brand 1 | 100000 | https://soneparthailand.com/th/_content_images/product/A4BF5596-06F7-632A-0C7B-5BEB6E7DB749.jpg | https://www.quotewerks.com/download/printlayouts/Samples/QuotationSample_A.pdf | เอ๋เวิลด์ เปราะบางโลโก้มอนสเตอร์รากหญ้าพูล เชอร์รี่ไฮเปอร์ตรวจสอบรันเวย์ฟลอร์ เซรามิก | สเปกแอ็กชั่น มหภาคเทรดคอร์ปมหาอุปราชาเฉิ่ม แป๋วมาร์เก็ตเดบิตแมนชั่น โกลด์วีซ่าเซอร์วิส เฟิร์มสไปเดอร์ ออร์เดอร์เช็ก ฮันนีมูนแชมป์กระดี๊กระด๊ารีวิวดยุค ฟินิกซ์ตื้บสมาพันธ์ซัพพลายเออร์โรแมนติก หลวงปู่บู๊ฮาลาลแซ็กโซโฟน ป๋าแอสเตอร์แดรี่ภคันทลาพาธ บอกซ์เยนโหลนเมคอัพ รูบิก จูเนียร์ไอติมเคลียร์ฟลุทมอคคา ทอม แฟกซ์รวมมิตรฟอยล์ แซนด์วิชลอร์ดสคริปต์ยากูซ่า สแล็กผ้าห่มรีสอร์ตแดรี่ สเตย์ธรรมา เที่ยงคืนแอปเปิ้ล คำสาปแคมปัสท็อปบูต สัมนาศิลปากรพาร์บ๊วยอมาตยาธิปไตย แจ๊สไงจัมโบ้ดั๊มพ์ วิว เกจิเคลียร์ ว้อดก้ามั้งคอมพ์ แหม็บโยเกิร์ตซัมเมอร์ ป่าไม้นิวละติน เทคโนแครตเวิร์กช็อปฮาราคีรี แคนยอนแกรนด์ โปรเจ็กต์ เต๊ะแบคโฮเหี่ยวย่นละอ่อนคาปูชิโน วันเวย์ ครูเสดแตงโมฟีเวอร์เจ๊คอลเล็กชั่น ดั๊มพ์วิลเลจกับดัก ชัตเตอร์โบว์ ออเดอร์แชมป์ อุปทานมาร์จินฮิบรูโทรโข่ง จูน แดรี่โยโย่ บุ๋น เอ็นเตอร์เทนดีพาร์ทเมนต์ลีเมอร์ สต็อกเซาท์ มายาคติโกเต็กซ์ไวอากร้าลิมูซีน ออร์เดอร์โมเดิร์นวอล์กร็อคไฮไลต์ ซีเนียร์ริกเตอร์สมาพันธ์ เจ๊วาฟเฟิลฟลุกฮิตคัตเอาต์ คูลเลอร์ยากูซ่า ราสเบอร์รีไฟแนนซ์แคนู ยาวี แม่ค้าชีสเซี้ยว อิกัวนาแมมโบ้ ซีเรียสกุมภาพันธ์ ซัพพลายเออร์ฟลุท เป่ายิ้งฉุบโลโก้หลวงพี่ กีวีตุ๊กตุ๊กเซ็กส์อาร์ติสต์ อริยสงฆ์บาบูนไฮไลท์ซาร์ดีน เมเปิลปาสกาลแรงใจ ปาร์ตี้มาร์กเซนเซอร์แคมเปญ เบอร์รีแพทยสภาวาฟเฟิลแบคโฮแมกกาซีน ชีสสังโฆวิน เซ่นไหว้จิ๊กโก๋กฤษณ์บูติคจอหงวน โคโยตีจังโก้บัลลาสต์คอลเล็กชั่น โปรเจ็ครีเสิร์ช แชมเปญ โปรโมเตอร์แกรนด์สตรอว์เบอร์รีแพกเกจ จีดีพีคลาสสิกแทคติค ฮัมซามูไรเคอร์ฟิวแมชชีน เทเลกราฟแอปเปิ้ลวิลล์ แฟรนไชส์ต่อยอดรีสอร์ต ออร์เดอร์ฟอยล์อ่อนด้อยช็อป รันเวย์ชีสแจ็กพอตอาว์มาราธอน ไตรมาสจอหงวน รอยัลตี้เมจิคชัตเตอร์ ชาร์จแมชีนก๋ากั่นเซฟตี้ ง่าวแมคเคอเรล หม่านโถวโยเกิร์ต แช่แข็งอันตรกิริยา แจ็กพ็อตมะกันล็อบบี้ซิมแผดเผา คาร์ดีพาร์ตเมนต์บลูเบอร์รีโคโยตี้เครป ฮันนีมูนเจลรวมมิตรเซี้ยว | Feature Name 1 | This is feature detail.
Start > | 1 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | TESYS GV2 TESYS D & TESYS U TERMINAL BLOCK 3P FOR GV1L3 | 2014172 | GV2G05 | SCHNEIDER ELECTRIC | 870 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-GV2G05_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672998D627B807AB38EBF9897998173BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-gv2g05.pdf?81788B76AEAA939CBEAABDA9B7A95D9BC677BB758765A098B6 | TESYS GV2 TESYS D & TESYS U TERMINAL BLOCK 3P FOR GV1L3 | Connection from bottom can be fitted with a GV1L3 current limiter | Type of accessory/spare part | Other
| 2 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUSCAN SDUTY CAPACITOR 25/30KVAR 440V 50/60HZ | 2056890 | BLRCS250A300B44 | SCHNEIDER ELECTRIC | 5330 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-BLRCS250A300B44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC67294838277A3778975936A6064927988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-BLRCS250A300B44.pdf?81788B76AEAA939CBEAABDA9B7A95D769C979798846C607583758487866B5EA4B4AB | VARPLUSCAN SDUTY CAPACITOR 25/30KVAR 440V 50/60HZ | A safe, reliable and high-performance solution for power factor correction in standard operating conditions. | Capacity | 411µF
| 2 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUSCAN SDUTY CAPACITOR 25/30KVAR 440V 50/60HZ | 2056890 | BLRCS250A300B44 | SCHNEIDER ELECTRIC | 5330 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-BLRCS250A300B44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC67294838277A3778975936A6064927988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-BLRCS250A300B44.pdf?81788B76AEAA939CBEAABDA9B7A95D769C979798846C607583758487866B5EA4B4AB | VARPLUSCAN SDUTY CAPACITOR 25/30KVAR 440V 50/60HZ | A safe, reliable and high-performance solution for power factor correction in standard operating conditions. | Model | Motor operating capacitor
| 2 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUSCAN SDUTY CAPACITOR 25/30KVAR 440V 50/60HZ | 2056890 | BLRCS250A300B44 | SCHNEIDER ELECTRIC | 5330 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-BLRCS250A300B44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC67294838277A3778975936A6064927988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-BLRCS250A300B44.pdf?81788B76AEAA939CBEAABDA9B7A95D769C979798846C607583758487866B5EA4B4AB | VARPLUSCAN SDUTY CAPACITOR 25/30KVAR 440V 50/60HZ | A safe, reliable and high-performance solution for power factor correction in standard operating conditions. | With insert contacts | no
| 3 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 20/24 KVAR 400 V 50/60HZ | 2086876 | BLRCH200A240B40 | SCHNEIDER ELECTRIC | 5950 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch200a240b40_large.jpg?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD84676095827984A786678FA0B1B7BBAA80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch200a240b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD84676095827984A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 20/24 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Capacity | 133µF
| 3 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 20/24 KVAR 400 V 50/60HZ | 2086876 | BLRCH200A240B40 | SCHNEIDER ELECTRIC | 5950 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch200a240b40_large.jpg?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD84676095827984A786678FA0B1B7BBAA80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch200a240b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD84676095827984A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 20/24 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Capacity 2 | 0µF
| 3 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 20/24 KVAR 400 V 50/60HZ | 2086876 | BLRCH200A240B40 | SCHNEIDER ELECTRIC | 5950 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch200a240b40_large.jpg?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD84676095827984A786678FA0B1B7BBAA80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch200a240b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD84676095827984A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 20/24 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Nominal voltage | 380...415V
| 3 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 20/24 KVAR 400 V 50/60HZ | 2086876 | BLRCH200A240B40 | SCHNEIDER ELECTRIC | 5950 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch200a240b40_large.jpg?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD84676095827984A786678FA0B1B7BBAA80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch200a240b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD84676095827984A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 20/24 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Model | Motor operating capacitor
| 3 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 20/24 KVAR 400 V 50/60HZ | 2086876 | BLRCH200A240B40 | SCHNEIDER ELECTRIC | 5950 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch200a240b40_large.jpg?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD84676095827984A786678FA0B1B7BBAA80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch200a240b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD84676095827984A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 20/24 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | With insert contacts | no
| 3 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 20/24 KVAR 400 V 50/60HZ | 2086876 | BLRCH200A240B40 | SCHNEIDER ELECTRIC | 5950 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch200a240b40_large.jpg?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD84676095827984A786678FA0B1B7BBAA80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch200a240b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD84676095827984A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 20/24 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Diameter | 116mm
| 3 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 20/24 KVAR 400 V 50/60HZ | 2086876 | BLRCH200A240B40 | SCHNEIDER ELECTRIC | 5950 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch200a240b40_large.jpg?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD84676095827984A786678FA0B1B7BBAA80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch200a240b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD84676095827984A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 20/24 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Length | 242mm
| 4 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 400 V 50/60HZ | 2086877 | BLRCH250A300B40 | SCHNEIDER ELECTRIC | 7300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch250a300b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8778975B36A6064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch250a300b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD846C6095837584A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 25/30 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Capacity | 166µF
| 4 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 400 V 50/60HZ | 2086877 | BLRCH250A300B40 | SCHNEIDER ELECTRIC | 7300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch250a300b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8778975B36A6064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch250a300b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD846C6095837584A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 25/30 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Capacity 2 | 0µF
| 4 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 400 V 50/60HZ | 2086877 | BLRCH250A300B40 | SCHNEIDER ELECTRIC | 7300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch250a300b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8778975B36A6064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch250a300b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD846C6095837584A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 25/30 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Nominal voltage | 380...415V
| 4 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 400 V 50/60HZ | 2086877 | BLRCH250A300B40 | SCHNEIDER ELECTRIC | 7300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch250a300b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8778975B36A6064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch250a300b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD846C6095837584A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 25/30 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Model | Other
| 4 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 400 V 50/60HZ | 2086877 | BLRCH250A300B40 | SCHNEIDER ELECTRIC | 7300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch250a300b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8778975B36A6064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch250a300b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD846C6095837584A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 25/30 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | With insert contacts | no
| 4 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 400 V 50/60HZ | 2086877 | BLRCH250A300B40 | SCHNEIDER ELECTRIC | 7300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch250a300b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8778975B36A6064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch250a300b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD846C6095837584A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 25/30 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Diameter | 116mm
| 4 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 400 V 50/60HZ | 2086877 | BLRCH250A300B40 | SCHNEIDER ELECTRIC | 7300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch250a300b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8778975B36A6064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch250a300b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD846C6095837584A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 25/30 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Length | 242mm
| 5 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 30/36 KVAR 400 V 50/60HZ | 2086878 | BLRCH300A360B40 | SCHNEIDER ELECTRIC | 8690 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch300a360b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8788475B36A6664B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch300a360b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD85676095837B84A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 30/36 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Capacity | 199µF
| 5 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 30/36 KVAR 400 V 50/60HZ | 2086878 | BLRCH300A360B40 | SCHNEIDER ELECTRIC | 8690 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch300a360b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8788475B36A6664B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch300a360b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD85676095837B84A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 30/36 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Capacity 2 | 0µF
| 5 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 30/36 KVAR 400 V 50/60HZ | 2086878 | BLRCH300A360B40 | SCHNEIDER ELECTRIC | 8690 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch300a360b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8788475B36A6664B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch300a360b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD85676095837B84A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 30/36 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Nominal voltage | 380...415V
| 5 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 30/36 KVAR 400 V 50/60HZ | 2086878 | BLRCH300A360B40 | SCHNEIDER ELECTRIC | 8690 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch300a360b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8788475B36A6664B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch300a360b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD85676095837B84A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 30/36 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Model | Other
| 5 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 30/36 KVAR 400 V 50/60HZ | 2086878 | BLRCH300A360B40 | SCHNEIDER ELECTRIC | 8690 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch300a360b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8788475B36A6664B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch300a360b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD85676095837B84A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 30/36 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | With insert contacts | yes
| 5 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 30/36 KVAR 400 V 50/60HZ | 2086878 | BLRCH300A360B40 | SCHNEIDER ELECTRIC | 8690 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch300a360b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8788475B36A6664B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch300a360b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD85676095837B84A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 30/36 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Diameter | 136mm
| 5 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 30/36 KVAR 400 V 50/60HZ | 2086878 | BLRCH300A360B40 | SCHNEIDER ELECTRIC | 8690 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch300a360b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8788475B36A6664B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch300a360b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD85676095837B84A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 30/36 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Length | 242mm
| 6 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 400 V 50/60HZ | 2086879 | BLRCH400A480B40 | SCHNEIDER ELECTRIC | 12000 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8798475B36B6864B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD86676095847D84A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 40/48 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Capacity | 265µF
| 6 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 400 V 50/60HZ | 2086879 | BLRCH400A480B40 | SCHNEIDER ELECTRIC | 12000 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8798475B36B6864B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD86676095847D84A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 40/48 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Capacity 2 | 0µF
| 6 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 400 V 50/60HZ | 2086879 | BLRCH400A480B40 | SCHNEIDER ELECTRIC | 12000 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8798475B36B6864B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD86676095847D84A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 40/48 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Nominal voltage | 380...415V
| 6 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 400 V 50/60HZ | 2086879 | BLRCH400A480B40 | SCHNEIDER ELECTRIC | 12000 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8798475B36B6864B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD86676095847D84A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 40/48 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Model | Other
| 6 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 400 V 50/60HZ | 2086879 | BLRCH400A480B40 | SCHNEIDER ELECTRIC | 12000 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8798475B36B6864B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD86676095847D84A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 40/48 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | With insert contacts | yes
| 6 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 400 V 50/60HZ | 2086879 | BLRCH400A480B40 | SCHNEIDER ELECTRIC | 12000 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8798475B36B6864B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD86676095847D84A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 40/48 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Diameter | 136mm
| 6 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 400 V 50/60HZ | 2086879 | BLRCH400A480B40 | SCHNEIDER ELECTRIC | 12000 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8798475B36B6864B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD86676095847D84A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 40/48 KVAR - 400 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Length | 321mm
| 7 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 525 V 50/60HZ | 2086880 | BLRCH400A480B52 | SCHNEIDER ELECTRIC | 12300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b52_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8798475B36B6864B27A86A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b52.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD86676095847D84A787695EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 40/48 KVAR - 525 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Capacity | 154µF
| 7 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 525 V 50/60HZ | 2086880 | BLRCH400A480B52 | SCHNEIDER ELECTRIC | 12300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b52_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8798475B36B6864B27A86A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b52.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD86676095847D84A787695EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 40/48 KVAR - 525 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Capacity 2 | 0µF
| 7 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 525 V 50/60HZ | 2086880 | BLRCH400A480B52 | SCHNEIDER ELECTRIC | 12300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b52_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8798475B36B6864B27A86A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b52.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD86676095847D84A787695EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 40/48 KVAR - 525 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Model | Other
| 7 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 525 V 50/60HZ | 2086880 | BLRCH400A480B52 | SCHNEIDER ELECTRIC | 12300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b52_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8798475B36B6864B27A86A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b52.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD86676095847D84A787695EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 40/48 KVAR - 525 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | With insert contacts | yes
| 7 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 525 V 50/60HZ | 2086880 | BLRCH400A480B52 | SCHNEIDER ELECTRIC | 12300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b52_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8798475B36B6864B27A86A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b52.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD86676095847D84A787695EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 40/48 KVAR - 525 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Diameter | 116mm
| 7 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 525 V 50/60HZ | 2086880 | BLRCH400A480B52 | SCHNEIDER ELECTRIC | 12300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b52_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8798475B36B6864B27A86A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch400a480b52.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD86676095847D84A787695EA4B4AB | VARPLUS CAN HDUTY CAPACITOR - 40/48 KVAR - 525 V - 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Length | 321mm
| 8 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 400V 50/60HZ | 2086881 | BLRCH500A000B40 | SCHNEIDER ELECTRIC | 15300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch500a000b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B87A8475B3676064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch500a000b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD87676095807584A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 400V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Capacity | 331µF
| 8 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 400V 50/60HZ | 2086881 | BLRCH500A000B40 | SCHNEIDER ELECTRIC | 15300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch500a000b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B87A8475B3676064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch500a000b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD87676095807584A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 400V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Capacity 2 | 0µF
| 8 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 400V 50/60HZ | 2086881 | BLRCH500A000B40 | SCHNEIDER ELECTRIC | 15300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch500a000b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B87A8475B3676064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch500a000b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD87676095807584A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 400V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Nominal voltage | 380...415V
| 8 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 400V 50/60HZ | 2086881 | BLRCH500A000B40 | SCHNEIDER ELECTRIC | 15300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch500a000b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B87A8475B3676064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch500a000b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD87676095807584A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 400V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Model | Other
| 8 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 400V 50/60HZ | 2086881 | BLRCH500A000B40 | SCHNEIDER ELECTRIC | 15300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch500a000b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B87A8475B3676064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch500a000b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD87676095807584A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 400V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | With insert contacts | yes
| 8 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 400V 50/60HZ | 2086881 | BLRCH500A000B40 | SCHNEIDER ELECTRIC | 15300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch500a000b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B87A8475B3676064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch500a000b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD87676095807584A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 400V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Diameter | 136mm
| 8 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 400V 50/60HZ | 2086881 | BLRCH500A000B40 | SCHNEIDER ELECTRIC | 15300 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch500a000b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B87A8475B3676064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch500a000b40.pdf?81788B76AEAA939CBEAABDA9B7A95D96BCB7B7AD87676095807584A786675EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 400V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions., A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Length | 321mm
| 9 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 440V 50/60HZ | 2218513 | BLRCH150A180B44 | SCHNEIDER ELECTRIC | 4510 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch150a180b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8768975B3686864B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH150A180B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB772948382779876897593686864927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Capacity | 82.2µF
| 9 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 440V 50/60HZ | 2218513 | BLRCH150A180B44 | SCHNEIDER ELECTRIC | 4510 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch150a180b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8768975B3686864B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH150A180B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB772948382779876897593686864927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Capacity 2 | 0µF
| 9 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 440V 50/60HZ | 2218513 | BLRCH150A180B44 | SCHNEIDER ELECTRIC | 4510 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch150a180b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8768975B3686864B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH150A180B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB772948382779876897593686864927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Nominal voltage | 440...440V
| 9 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 440V 50/60HZ | 2218513 | BLRCH150A180B44 | SCHNEIDER ELECTRIC | 4510 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch150a180b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8768975B3686864B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH150A180B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB772948382779876897593686864927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Model | Other
| 9 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 440V 50/60HZ | 2218513 | BLRCH150A180B44 | SCHNEIDER ELECTRIC | 4510 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch150a180b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8768975B3686864B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH150A180B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB772948382779876897593686864927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | With insert contacts | no
| 9 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 440V 50/60HZ | 2218513 | BLRCH150A180B44 | SCHNEIDER ELECTRIC | 4510 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch150a180b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8768975B3686864B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH150A180B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB772948382779876897593686864927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Diameter | 90mm
| 9 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 440V 50/60HZ | 2218513 | BLRCH150A180B44 | SCHNEIDER ELECTRIC | 4510 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch150a180b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8768975B3686864B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH150A180B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB772948382779876897593686864927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Length | 242mm
| 10 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 440V 50/60HZ | 2218514 | BLRCH400A480B44 | SCHNEIDER ELECTRIC | 11600 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch400a480b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8798475B36B6864B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH400A480B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798798475936B6864927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 440V 50/60HZ | PowerLogic PFC Capacitors are low voltage aluminium can capacitors specially designed to contribute to power quality and power factor mitigation and deliver long working life in industrial networks, with low losses in standard, heavy-duty and severe operating conditions. PowerLogic PFC Capacitors must be selected depending on the working conditions expected during their lifetime. Since harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Nominal voltage | 440...440V
| 10 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 440V 50/60HZ | 2218514 | BLRCH400A480B44 | SCHNEIDER ELECTRIC | 11600 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch400a480b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8798475B36B6864B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH400A480B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798798475936B6864927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 40/48 KVAR 440V 50/60HZ | PowerLogic PFC Capacitors are low voltage aluminium can capacitors specially designed to contribute to power quality and power factor mitigation and deliver long working life in industrial networks, with low losses in standard, heavy-duty and severe operating conditions. PowerLogic PFC Capacitors must be selected depending on the working conditions expected during their lifetime. Since harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Model | Other
| 11 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 400V 50/60HZ | 2218527 | BLRCH150A180B40 | SCHNEIDER ELECTRIC | 4590 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch150a180b40_Image1.JPG?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8768975B3686864B27984A49BA4919BB576828FA27E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch150a180b40.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8768975B3686864B2798473C29B96 | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 400V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions. A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Capacity | 99.4µF
| 11 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 400V 50/60HZ | 2218527 | BLRCH150A180B40 | SCHNEIDER ELECTRIC | 4590 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch150a180b40_Image1.JPG?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8768975B3686864B27984A49BA4919BB576828FA27E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch150a180b40.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8768975B3686864B2798473C29B96 | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 400V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions. A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Capacity 2 | 0µF
| 11 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 400V 50/60HZ | 2218527 | BLRCH150A180B40 | SCHNEIDER ELECTRIC | 4590 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch150a180b40_Image1.JPG?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8768975B3686864B27984A49BA4919BB576828FA27E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch150a180b40.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8768975B3686864B2798473C29B96 | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 400V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions. A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Nominal voltage | 380...415V
| 11 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 400V 50/60HZ | 2218527 | BLRCH150A180B40 | SCHNEIDER ELECTRIC | 4590 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch150a180b40_Image1.JPG?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8768975B3686864B27984A49BA4919BB576828FA27E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch150a180b40.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8768975B3686864B2798473C29B96 | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 400V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions. A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Model | Other
| 11 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 400V 50/60HZ | 2218527 | BLRCH150A180B40 | SCHNEIDER ELECTRIC | 4590 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch150a180b40_Image1.JPG?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8768975B3686864B27984A49BA4919BB576828FA27E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch150a180b40.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8768975B3686864B2798473C29B96 | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 400V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions. A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | With insert contacts | no
| 11 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 400V 50/60HZ | 2218527 | BLRCH150A180B40 | SCHNEIDER ELECTRIC | 4590 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch150a180b40_Image1.JPG?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8768975B3686864B27984A49BA4919BB576828FA27E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch150a180b40.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8768975B3686864B2798473C29B96 | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 400V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions. A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Diameter | 90mm
| 11 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 400V 50/60HZ | 2218527 | BLRCH150A180B40 | SCHNEIDER ELECTRIC | 4590 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch150a180b40_Image1.JPG?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8768975B3686864B27984A49BA4919BB576828FA27E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrch150a180b40.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297B8768975B3686864B2798473C29B96 | VARPLUS CAN HDUTY CAPACITOR 15/18 KVAR 400V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to deliver a long working life with low losses in standard, heavy-duty and severe operating conditions. A safe, reliable and high-performance solution for power factor correction in the most severe application conditions. | Length | 242mm
| 12 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | CAPACITOR EASY CAN 25 KVAR 400V | 2218531 | BLRCS250A300B40 | SCHNEIDER ELECTRIC | 5440 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrcs250a300b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297C3778975B36A6064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrcs250a300b40.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297C3778975B36A6064B2798473C29B96 | CAPACITOR EASY CAN 25 KVAR 400V | A safe, reliable and high-performance solution for power factor correction in standard operating conditions. | Capacity | 166µF
| 12 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | CAPACITOR EASY CAN 25 KVAR 400V | 2218531 | BLRCS250A300B40 | SCHNEIDER ELECTRIC | 5440 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrcs250a300b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297C3778975B36A6064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrcs250a300b40.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297C3778975B36A6064B2798473C29B96 | CAPACITOR EASY CAN 25 KVAR 400V | A safe, reliable and high-performance solution for power factor correction in standard operating conditions. | Capacity 2 | 0µF
| 12 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | CAPACITOR EASY CAN 25 KVAR 400V | 2218531 | BLRCS250A300B40 | SCHNEIDER ELECTRIC | 5440 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrcs250a300b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297C3778975B36A6064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrcs250a300b40.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297C3778975B36A6064B2798473C29B96 | CAPACITOR EASY CAN 25 KVAR 400V | A safe, reliable and high-performance solution for power factor correction in standard operating conditions. | Nominal voltage | 380...415V
| 12 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | CAPACITOR EASY CAN 25 KVAR 400V | 2218531 | BLRCS250A300B40 | SCHNEIDER ELECTRIC | 5440 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrcs250a300b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297C3778975B36A6064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrcs250a300b40.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297C3778975B36A6064B2798473C29B96 | CAPACITOR EASY CAN 25 KVAR 400V | A safe, reliable and high-performance solution for power factor correction in standard operating conditions. | Model | Other
| 12 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | CAPACITOR EASY CAN 25 KVAR 400V | 2218531 | BLRCS250A300B40 | SCHNEIDER ELECTRIC | 5440 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrcs250a300b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297C3778975B36A6064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrcs250a300b40.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297C3778975B36A6064B2798473C29B96 | CAPACITOR EASY CAN 25 KVAR 400V | A safe, reliable and high-performance solution for power factor correction in standard operating conditions. | With insert contacts | no
| 12 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | CAPACITOR EASY CAN 25 KVAR 400V | 2218531 | BLRCS250A300B40 | SCHNEIDER ELECTRIC | 5440 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrcs250a300b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297C3778975B36A6064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrcs250a300b40.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297C3778975B36A6064B2798473C29B96 | CAPACITOR EASY CAN 25 KVAR 400V | A safe, reliable and high-performance solution for power factor correction in standard operating conditions. | Diameter | 90mm
| 12 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | CAPACITOR EASY CAN 25 KVAR 400V | 2218531 | BLRCS250A300B40 | SCHNEIDER ELECTRIC | 5440 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrcs250a300b40_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297C3778975B36A6064B27984A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-blrcs250a300b40.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B4A3A297C3778975B36A6064B2798473C29B96 | CAPACITOR EASY CAN 25 KVAR 400V | A safe, reliable and high-performance solution for power factor correction in standard operating conditions. | Length | 308mm
| 13 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 37.7/45.2 KVAR 525V 50/60HZ | 2221005 | BLRCH377A452B52 | SCHNEIDER ELECTRIC | 11200 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-BLRCH377A452B52_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729483827798788B7C936B6566927A86A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH377A452B52_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798788B7C936B6566927A86A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 37.7/45.2 KVAR 525V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to contribute to power quality and power factor mitigation and deliver a long working life in industrial networks, with low losses in standard, heavy-duty and severe operating conditions. | Capacity | 145µF
| 13 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 37.7/45.2 KVAR 525V 50/60HZ | 2221005 | BLRCH377A452B52 | SCHNEIDER ELECTRIC | 11200 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-BLRCH377A452B52_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729483827798788B7C936B6566927A86A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH377A452B52_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798788B7C936B6566927A86A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 37.7/45.2 KVAR 525V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to contribute to power quality and power factor mitigation and deliver a long working life in industrial networks, with low losses in standard, heavy-duty and severe operating conditions. | Capacity 2 | 0µF
| 13 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 37.7/45.2 KVAR 525V 50/60HZ | 2221005 | BLRCH377A452B52 | SCHNEIDER ELECTRIC | 11200 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-BLRCH377A452B52_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729483827798788B7C936B6566927A86A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH377A452B52_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798788B7C936B6566927A86A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 37.7/45.2 KVAR 525V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to contribute to power quality and power factor mitigation and deliver a long working life in industrial networks, with low losses in standard, heavy-duty and severe operating conditions. | Nominal voltage | 525...525V
| 13 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 37.7/45.2 KVAR 525V 50/60HZ | 2221005 | BLRCH377A452B52 | SCHNEIDER ELECTRIC | 11200 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-BLRCH377A452B52_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729483827798788B7C936B6566927A86A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH377A452B52_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798788B7C936B6566927A86A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 37.7/45.2 KVAR 525V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to contribute to power quality and power factor mitigation and deliver a long working life in industrial networks, with low losses in standard, heavy-duty and severe operating conditions. | Model | Other
| 13 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 37.7/45.2 KVAR 525V 50/60HZ | 2221005 | BLRCH377A452B52 | SCHNEIDER ELECTRIC | 11200 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-BLRCH377A452B52_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729483827798788B7C936B6566927A86A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH377A452B52_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798788B7C936B6566927A86A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 37.7/45.2 KVAR 525V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to contribute to power quality and power factor mitigation and deliver a long working life in industrial networks, with low losses in standard, heavy-duty and severe operating conditions. | With insert contacts | yes
| 13 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 37.7/45.2 KVAR 525V 50/60HZ | 2221005 | BLRCH377A452B52 | SCHNEIDER ELECTRIC | 11200 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-BLRCH377A452B52_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729483827798788B7C936B6566927A86A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH377A452B52_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798788B7C936B6566927A86A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 37.7/45.2 KVAR 525V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to contribute to power quality and power factor mitigation and deliver a long working life in industrial networks, with low losses in standard, heavy-duty and severe operating conditions. | Diameter | 116mm
| 13 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 37.7/45.2 KVAR 525V 50/60HZ | 2221005 | BLRCH377A452B52 | SCHNEIDER ELECTRIC | 11200 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-BLRCH377A452B52_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729483827798788B7C936B6566927A86A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH377A452B52_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798788B7C936B6566927A86A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 37.7/45.2 KVAR 525V 50/60HZ | VarPlus Can are low voltage aluminium can capacitors specially designed to contribute to power quality and power factor mitigation and deliver a long working life in industrial networks, with low losses in standard, heavy-duty and severe operating conditions. | Length | 242mm
| 14 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 440V 50/60HZ | 2337643 | BLRCH250A300B44 | SCHNEIDER ELECTRIC | 7450 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch250a300b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8778975B36A6064B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH250A300B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798778975936A6064927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Capacity | 137µF
| 14 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 440V 50/60HZ | 2337643 | BLRCH250A300B44 | SCHNEIDER ELECTRIC | 7450 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch250a300b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8778975B36A6064B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH250A300B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798778975936A6064927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Capacity 2 | 0µF
| 14 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 440V 50/60HZ | 2337643 | BLRCH250A300B44 | SCHNEIDER ELECTRIC | 7450 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch250a300b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8778975B36A6064B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH250A300B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798778975936A6064927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Nominal voltage | 440...440V
| 14 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 440V 50/60HZ | 2337643 | BLRCH250A300B44 | SCHNEIDER ELECTRIC | 7450 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch250a300b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8778975B36A6064B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH250A300B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798778975936A6064927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Model | Other
| 14 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 440V 50/60HZ | 2337643 | BLRCH250A300B44 | SCHNEIDER ELECTRIC | 7450 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch250a300b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8778975B36A6064B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH250A300B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798778975936A6064927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | With insert contacts | no
| 14 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 440V 50/60HZ | 2337643 | BLRCH250A300B44 | SCHNEIDER ELECTRIC | 7450 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch250a300b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8778975B36A6064B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH250A300B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798778975936A6064927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Diameter | 116mm
| 14 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 440V 50/60HZ | 2337643 | BLRCH250A300B44 | SCHNEIDER ELECTRIC | 7450 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch250a300b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B8778975B36A6064B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH250A300B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB7729483827798778975936A6064927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 25/30 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Length | 242mm
| 15 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 440V 50/60HZ | 2445853 | BLRCH500A000B44 | SCHNEIDER ELECTRIC | 14900 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch500a000b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B87A8475B3676064B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH500A000B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB77294838277987A847593676064927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Capacity | 274µF
| 15 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 440V 50/60HZ | 2445853 | BLRCH500A000B44 | SCHNEIDER ELECTRIC | 14900 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch500a000b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B87A8475B3676064B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH500A000B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB77294838277987A847593676064927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Capacity 2 | 0µF
| 15 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 440V 50/60HZ | 2445853 | BLRCH500A000B44 | SCHNEIDER ELECTRIC | 14900 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch500a000b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B87A8475B3676064B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH500A000B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB77294838277987A847593676064927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Nominal voltage | 440...440V
| 15 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 440V 50/60HZ | 2445853 | BLRCH500A000B44 | SCHNEIDER ELECTRIC | 14900 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch500a000b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B87A8475B3676064B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH500A000B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB77294838277987A847593676064927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Model | Other
| 15 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 440V 50/60HZ | 2445853 | BLRCH500A000B44 | SCHNEIDER ELECTRIC | 14900 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch500a000b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B87A8475B3676064B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH500A000B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB77294838277987A847593676064927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | With insert contacts | yes
| 15 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 440V 50/60HZ | 2445853 | BLRCH500A000B44 | SCHNEIDER ELECTRIC | 14900 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch500a000b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B87A8475B3676064B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH500A000B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB77294838277987A847593676064927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Diameter | 136mm
| 15 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 440V 50/60HZ | 2445853 | BLRCH500A000B44 | SCHNEIDER ELECTRIC | 14900 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneiderelectric-blrch500a000b44_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6AABE9C93A8C2AEB772B4A3A297B87A8475B3676064B27988A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/SchneiderElectric-BLRCH500A000B44_Datasheet1.pdf?A3889C9397807479A2A1A7A8BAA5959DB4AAC68ABE9C93A8C2AEB77294838277987A847593676064927988A49698A495C3ADB9AAC6685EA4B4AB | VARPLUS CAN HDUTY CAPACITOR 50/0 KVAR 440V 50/60HZ | VarPlus Can capacitors must be selected depending on the working conditions expected during their lifetime. Since the harmonics are caused by non-linear loads, an indicator for the magnitude of harmonics is the ratio NLL of the total power of non-linear loads to the power supply transformer rating. | Length | 321mm
| 16 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | CAPACITOR BANK 25.0KVAR AT 440VAC , 20.7KVAR AT 400VAC | 2449443 | LKT 25.0-440-DB | FRAKO | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/frako-LKT25.0-440-DB_Image1.jpg?96979590A19396A6B1B0C3729E82846685738472866B60619487B38EBF9897998173BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/frako-LKT25.0-440-DB_Datasheet1.pdf?96979590A19396A6B1B0C3729E82846685738472866B60619487B389B3AB91A7B8AAB9B98365A098B6 | CAPACITOR BANK 25.0KVAR AT 440VAC , 20.7KVAR AT 400VAC | FRAKO Power Capacitors have been developed and manufactured for decades solely at the company‘s Teningen production site in Germany. This has resulted in a consistently high product quality being maintained, the basis for assured operational reliability and a long service life. | Capacity | 137µF
| 16 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | CAPACITOR BANK 25.0KVAR AT 440VAC , 20.7KVAR AT 400VAC | 2449443 | LKT 25.0-440-DB | FRAKO | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/frako-LKT25.0-440-DB_Image1.jpg?96979590A19396A6B1B0C3729E82846685738472866B60619487B38EBF9897998173BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/frako-LKT25.0-440-DB_Datasheet1.pdf?96979590A19396A6B1B0C3729E82846685738472866B60619487B389B3AB91A7B8AAB9B98365A098B6 | CAPACITOR BANK 25.0KVAR AT 440VAC , 20.7KVAR AT 400VAC | FRAKO Power Capacitors have been developed and manufactured for decades solely at the company‘s Teningen production site in Germany. This has resulted in a consistently high product quality being maintained, the basis for assured operational reliability and a long service life. | Nominal voltage | 25...25V
| 16 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | CAPACITOR BANK 25.0KVAR AT 440VAC , 20.7KVAR AT 400VAC | 2449443 | LKT 25.0-440-DB | FRAKO | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/frako-LKT25.0-440-DB_Image1.jpg?96979590A19396A6B1B0C3729E82846685738472866B60619487B38EBF9897998173BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/frako-LKT25.0-440-DB_Datasheet1.pdf?96979590A19396A6B1B0C3729E82846685738472866B60619487B389B3AB91A7B8AAB9B98365A098B6 | CAPACITOR BANK 25.0KVAR AT 440VAC , 20.7KVAR AT 400VAC | FRAKO Power Capacitors have been developed and manufactured for decades solely at the company‘s Teningen production site in Germany. This has resulted in a consistently high product quality being maintained, the basis for assured operational reliability and a long service life. | Diameter | 85mm
| 16 | Circuit Breakers and Fuses | Circuit Breakers | Capacitors | CAPACITOR BANK 25.0KVAR AT 440VAC , 20.7KVAR AT 400VAC | 2449443 | LKT 25.0-440-DB | FRAKO | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/frako-LKT25.0-440-DB_Image1.jpg?96979590A19396A6B1B0C3729E82846685738472866B60619487B38EBF9897998173BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/frako-LKT25.0-440-DB_Datasheet1.pdf?96979590A19396A6B1B0C3729E82846685738472866B60619487B389B3AB91A7B8AAB9B98365A098B6 | CAPACITOR BANK 25.0KVAR AT 440VAC , 20.7KVAR AT 400VAC | FRAKO Power Capacitors have been developed and manufactured for decades solely at the company‘s Teningen production site in Germany. This has resulted in a consistently high product quality being maintained, the basis for assured operational reliability and a long service life. | Length | 278mm