## Import Data
ImportTicket-xlsx-zsx22ii8k1q&Tx | ลำดับ | รายละเอียดสินค้า
|  | ชื่อหมวดหมู่ชั้นที่ 1 | ชื่อหมวดหมู่ชั้นที่ 2 | ชื่อหมวดหมู่ชั้นที่ 3 | ชื่อสินค้า | รหัสสินค้า | MPN | Brand | ราคาสินค้า | Picture | Datasheet | รายละเอียดย่อ | รายละเอียดเต็ม | หัวข้อฟีเจอร์ | รายละเอียดฟีเจอร์
Example > | 0 | Product Category 1 | Product Sub 1 | Product Sub-sec 1 | Example Product | P0001 | N/A | Brand 1 | 100000 | https://soneparthailand.com/th/_content_images/product/A4BF5596-06F7-632A-0C7B-5BEB6E7DB749.jpg | https://www.quotewerks.com/download/printlayouts/Samples/QuotationSample_A.pdf | เอ๋เวิลด์ เปราะบางโลโก้มอนสเตอร์รากหญ้าพูล เชอร์รี่ไฮเปอร์ตรวจสอบรันเวย์ฟลอร์ เซรามิก | สเปกแอ็กชั่น มหภาคเทรดคอร์ปมหาอุปราชาเฉิ่ม แป๋วมาร์เก็ตเดบิตแมนชั่น โกลด์วีซ่าเซอร์วิส เฟิร์มสไปเดอร์ ออร์เดอร์เช็ก ฮันนีมูนแชมป์กระดี๊กระด๊ารีวิวดยุค ฟินิกซ์ตื้บสมาพันธ์ซัพพลายเออร์โรแมนติก หลวงปู่บู๊ฮาลาลแซ็กโซโฟน ป๋าแอสเตอร์แดรี่ภคันทลาพาธ บอกซ์เยนโหลนเมคอัพ รูบิก จูเนียร์ไอติมเคลียร์ฟลุทมอคคา ทอม แฟกซ์รวมมิตรฟอยล์ แซนด์วิชลอร์ดสคริปต์ยากูซ่า สแล็กผ้าห่มรีสอร์ตแดรี่ สเตย์ธรรมา เที่ยงคืนแอปเปิ้ล คำสาปแคมปัสท็อปบูต สัมนาศิลปากรพาร์บ๊วยอมาตยาธิปไตย แจ๊สไงจัมโบ้ดั๊มพ์ วิว เกจิเคลียร์ ว้อดก้ามั้งคอมพ์ แหม็บโยเกิร์ตซัมเมอร์ ป่าไม้นิวละติน เทคโนแครตเวิร์กช็อปฮาราคีรี แคนยอนแกรนด์ โปรเจ็กต์ เต๊ะแบคโฮเหี่ยวย่นละอ่อนคาปูชิโน วันเวย์ ครูเสดแตงโมฟีเวอร์เจ๊คอลเล็กชั่น ดั๊มพ์วิลเลจกับดัก ชัตเตอร์โบว์ ออเดอร์แชมป์ อุปทานมาร์จินฮิบรูโทรโข่ง จูน แดรี่โยโย่ บุ๋น เอ็นเตอร์เทนดีพาร์ทเมนต์ลีเมอร์ สต็อกเซาท์ มายาคติโกเต็กซ์ไวอากร้าลิมูซีน ออร์เดอร์โมเดิร์นวอล์กร็อคไฮไลต์ ซีเนียร์ริกเตอร์สมาพันธ์ เจ๊วาฟเฟิลฟลุกฮิตคัตเอาต์ คูลเลอร์ยากูซ่า ราสเบอร์รีไฟแนนซ์แคนู ยาวี แม่ค้าชีสเซี้ยว อิกัวนาแมมโบ้ ซีเรียสกุมภาพันธ์ ซัพพลายเออร์ฟลุท เป่ายิ้งฉุบโลโก้หลวงพี่ กีวีตุ๊กตุ๊กเซ็กส์อาร์ติสต์ อริยสงฆ์บาบูนไฮไลท์ซาร์ดีน เมเปิลปาสกาลแรงใจ ปาร์ตี้มาร์กเซนเซอร์แคมเปญ เบอร์รีแพทยสภาวาฟเฟิลแบคโฮแมกกาซีน ชีสสังโฆวิน เซ่นไหว้จิ๊กโก๋กฤษณ์บูติคจอหงวน โคโยตีจังโก้บัลลาสต์คอลเล็กชั่น โปรเจ็ครีเสิร์ช แชมเปญ โปรโมเตอร์แกรนด์สตรอว์เบอร์รีแพกเกจ จีดีพีคลาสสิกแทคติค ฮัมซามูไรเคอร์ฟิวแมชชีน เทเลกราฟแอปเปิ้ลวิลล์ แฟรนไชส์ต่อยอดรีสอร์ต ออร์เดอร์ฟอยล์อ่อนด้อยช็อป รันเวย์ชีสแจ็กพอตอาว์มาราธอน ไตรมาสจอหงวน รอยัลตี้เมจิคชัตเตอร์ ชาร์จแมชีนก๋ากั่นเซฟตี้ ง่าวแมคเคอเรล หม่านโถวโยเกิร์ต แช่แข็งอันตรกิริยา แจ็กพ็อตมะกันล็อบบี้ซิมแผดเผา คาร์ดีพาร์ตเมนต์บลูเบอร์รีโคโยตี้เครป ฮันนีมูนเจลรวมมิตรเซี้ยว | Feature Name 1 | This is feature detail.
Start > | 1 | Automation and Control | Contactors | Contactor Accessories | TESYS D D40A TO D65A MECHANICAL INTERLOCK | 2004567 | LAD4CM | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lad4cm_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE989468B3B2B3AEBF9897998173BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LAD-4CM.pdf?81788B76AEAA939CBEAABDA9B7A95D809189817995845EA4B4AB | TESYS D D40A TO D65A MECHANICAL INTERLOCK | Mechanical interlock offers direct mounting for convenient installation. It is compatible with LC1DT60A - LC1DT80A contactors. | Type of accessory/spare part | Mechanical locking
| 2 | Switch and Plug | Plugs and Sockets | Industrial Coupling | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | 2007847 | 552 | MENNEKES | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552_Large.jpg?897688A1BF9C9EA2B5B0B9B87F6C6566AF91B5B7B99C5E9EC0AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552.pdf?897688A1BF9C9EA2B5B0B9B87F6C65667EB5B8AB | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | Screw terminals. Single part body. Cable gland and sealing. Strain relief and protection against kinking | IEC-amperage | 32A
| 3 | Switch and Plug | Plugs and Sockets | Industrial Coupling | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | 2007847 | 552 | MENNEKES | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552_Large.jpg?897688A1BF9C9EA2B5B0B9B87F6C6566AF91B5B7B99C5E9EC0AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552.pdf?897688A1BF9C9EA2B5B0B9B87F6C65667EB5B8AB | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | Screw terminals. Single part body. Cable gland and sealing. Strain relief and protection against kinking | Amperage according to UL/CSA (for UL-version) | 30A
| 4 | Switch and Plug | Plugs and Sockets | Industrial Coupling | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | 2007847 | 552 | MENNEKES | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552_Large.jpg?897688A1BF9C9EA2B5B0B9B87F6C6566AF91B5B7B99C5E9EC0AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552.pdf?897688A1BF9C9EA2B5B0B9B87F6C65667EB5B8AB | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | Screw terminals. Single part body. Cable gland and sealing. Strain relief and protection against kinking | Number of poles | 3
| 5 | Switch and Plug | Plugs and Sockets | Industrial Coupling | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | 2007847 | 552 | MENNEKES | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552_Large.jpg?897688A1BF9C9EA2B5B0B9B87F6C6566AF91B5B7B99C5E9EC0AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552.pdf?897688A1BF9C9EA2B5B0B9B87F6C65667EB5B8AB | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | Screw terminals. Single part body. Cable gland and sealing. Strain relief and protection against kinking | Voltage according to EN 60309-2 | 230 V (50+60 Hz) blue
| 6 | Switch and Plug | Plugs and Sockets | Industrial Coupling | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | 2007847 | 552 | MENNEKES | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552_Large.jpg?897688A1BF9C9EA2B5B0B9B87F6C6566AF91B5B7B99C5E9EC0AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552.pdf?897688A1BF9C9EA2B5B0B9B87F6C65667EB5B8AB | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | Screw terminals. Single part body. Cable gland and sealing. Strain relief and protection against kinking | Clock hour position | 6h
| 7 | Switch and Plug | Plugs and Sockets | Industrial Coupling | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | 2007847 | 552 | MENNEKES | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552_Large.jpg?897688A1BF9C9EA2B5B0B9B87F6C6566AF91B5B7B99C5E9EC0AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552.pdf?897688A1BF9C9EA2B5B0B9B87F6C65667EB5B8AB | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | Screw terminals. Single part body. Cable gland and sealing. Strain relief and protection against kinking | Identification colour | Blue
| 8 | Switch and Plug | Plugs and Sockets | Industrial Coupling | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | 2007847 | 552 | MENNEKES | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552_Large.jpg?897688A1BF9C9EA2B5B0B9B87F6C6566AF91B5B7B99C5E9EC0AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552.pdf?897688A1BF9C9EA2B5B0B9B87F6C65667EB5B8AB | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | Screw terminals. Single part body. Cable gland and sealing. Strain relief and protection against kinking | Degree of protection (IP) | IP67
| 9 | Switch and Plug | Plugs and Sockets | Industrial Coupling | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | 2007847 | 552 | MENNEKES | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552_Large.jpg?897688A1BF9C9EA2B5B0B9B87F6C6566AF91B5B7B99C5E9EC0AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552.pdf?897688A1BF9C9EA2B5B0B9B87F6C65667EB5B8AB | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | Screw terminals. Single part body. Cable gland and sealing. Strain relief and protection against kinking | Connection system | Screwed terminal
| 10 | Switch and Plug | Plugs and Sockets | Industrial Coupling | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | 2007847 | 552 | MENNEKES | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552_Large.jpg?897688A1BF9C9EA2B5B0B9B87F6C6566AF91B5B7B99C5E9EC0AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552.pdf?897688A1BF9C9EA2B5B0B9B87F6C65667EB5B8AB | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | Screw terminals. Single part body. Cable gland and sealing. Strain relief and protection against kinking | Angle of plug | Straight
| 11 | Switch and Plug | Plugs and Sockets | Industrial Coupling | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | 2007847 | 552 | MENNEKES | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552_Large.jpg?897688A1BF9C9EA2B5B0B9B87F6C6566AF91B5B7B99C5E9EC0AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552.pdf?897688A1BF9C9EA2B5B0B9B87F6C65667EB5B8AB | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | Screw terminals. Single part body. Cable gland and sealing. Strain relief and protection against kinking | Cable entry | Gland nut
| 12 | Switch and Plug | Plugs and Sockets | Industrial Coupling | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | 2007847 | 552 | MENNEKES | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552_Large.jpg?897688A1BF9C9EA2B5B0B9B87F6C6566AF91B5B7B99C5E9EC0AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552.pdf?897688A1BF9C9EA2B5B0B9B87F6C65667EB5B8AB | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | Screw terminals. Single part body. Cable gland and sealing. Strain relief and protection against kinking | Material | Plastic
| 13 | Switch and Plug | Plugs and Sockets | Industrial Coupling | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | 2007847 | 552 | MENNEKES | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552_Large.jpg?897688A1BF9C9EA2B5B0B9B87F6C6566AF91B5B7B99C5E9EC0AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/mennekes-552.pdf?897688A1BF9C9EA2B5B0B9B87F6C65667EB5B8AB | AM-TOP CONNECTOR 32A 3P 230V 6H IP67 | Screw terminals. Single part body. Cable gland and sealing. Strain relief and protection against kinking | Military model | no
| 14 | Automation and Control | Industrial Switch | Industrial Switch Accessories | HARMONY XAC PROTECTIVE GUARD FOR KEY SWITCH | 2011824 | XACA983 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-xaca983_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672CA989395897D87A4BBA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-XAC-A983.pdf?81788B76AEAA939CBEAABDA9B7A95D8C918881868B6F6362C0A9BA | HARMONY XAC PROTECTIVE GUARD FOR KEY RELEASE MUSHROOM HEAD OR KEY SWITCH BOTTOM MOUNTED | Harmony XAC Guard suitable for all station types. | Type of electrical accessory/spare part | Other
| 15 | Automation and Control | Industrial Switch | Industrial Switch Accessories | HARMONY XAC PROTECTIVE GUARD FOR KEY SWITCH | 2011824 | XACA983 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-xaca983_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672CA989395897D87A4BBA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-XAC-A983.pdf?81788B76AEAA939CBEAABDA9B7A95D8C918881868B6F6362C0A9BA | HARMONY XAC PROTECTIVE GUARD FOR KEY RELEASE MUSHROOM HEAD OR KEY SWITCH BOTTOM MOUNTED | Harmony XAC Guard suitable for all station types. | Type of mechanical accessory/spare part | Protective collar
| 16 | Automation and Control | Industrial Switch | Pilot Lamps | HARMONY XB5 PILOT LIGHT HEAD Ø22 FOR INTEGRAL LED GREEN | 2021053 | ZB5AV033 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-zb5av033_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672CC996595C6758778B1A09D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-ZB5-AV033.pdf?81788B76AEAA939CBEAABDA9B7A95D8E927A8186A86763677EB5B8AB | HARMONY XB5 PILOT LIGHT HEAD Ø22 PLAIN LENS FOR INTEGRAL LED GREEN | 22mm Pilot Light | Suitable for number of built-in signal lights | 1
| 17 | Automation and Control | Industrial Switch | Pilot Lamps | HARMONY XB5 PILOT LIGHT HEAD Ø22 FOR INTEGRAL LED GREEN | 2021053 | ZB5AV033 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-zb5av033_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672CC996595C6758778B1A09D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-ZB5-AV033.pdf?81788B76AEAA939CBEAABDA9B7A95D8E927A8186A86763677EB5B8AB | HARMONY XB5 PILOT LIGHT HEAD Ø22 PLAIN LENS FOR INTEGRAL LED GREEN | 22mm Pilot Light | Colour lens | Green
| 18 | Automation and Control | Industrial Switch | Pilot Lamps | HARMONY XB5 PILOT LIGHT HEAD Ø22 FOR INTEGRAL LED GREEN | 2021053 | ZB5AV033 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-zb5av033_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672CC996595C6758778B1A09D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-ZB5-AV033.pdf?81788B76AEAA939CBEAABDA9B7A95D8E927A8186A86763677EB5B8AB | HARMONY XB5 PILOT LIGHT HEAD Ø22 PLAIN LENS FOR INTEGRAL LED GREEN | 22mm Pilot Light | Construction type lens | Round
| 19 | Automation and Control | Industrial Switch | Pilot Lamps | HARMONY XB5 PILOT LIGHT HEAD Ø22 FOR INTEGRAL LED GREEN | 2021053 | ZB5AV033 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-zb5av033_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672CC996595C6758778B1A09D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-ZB5-AV033.pdf?81788B76AEAA939CBEAABDA9B7A95D8E927A8186A86763677EB5B8AB | HARMONY XB5 PILOT LIGHT HEAD Ø22 PLAIN LENS FOR INTEGRAL LED GREEN | 22mm Pilot Light | Hole diameter | 22.5mm
| 20 | Automation and Control | Industrial Switch | Pilot Lamps | HARMONY XB5 PILOT LIGHT HEAD Ø22 FOR INTEGRAL LED GREEN | 2021053 | ZB5AV033 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-zb5av033_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672CC996595C6758778B1A09D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-ZB5-AV033.pdf?81788B76AEAA939CBEAABDA9B7A95D8E927A8186A86763677EB5B8AB | HARMONY XB5 PILOT LIGHT HEAD Ø22 PLAIN LENS FOR INTEGRAL LED GREEN | 22mm Pilot Light | Width opening | 29mm
| 21 | Automation and Control | Industrial Switch | Pilot Lamps | HARMONY XB5 PILOT LIGHT HEAD Ø22 FOR INTEGRAL LED GREEN | 2021053 | ZB5AV033 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-zb5av033_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672CC996595C6758778B1A09D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-ZB5-AV033.pdf?81788B76AEAA939CBEAABDA9B7A95D8E927A8186A86763677EB5B8AB | HARMONY XB5 PILOT LIGHT HEAD Ø22 PLAIN LENS FOR INTEGRAL LED GREEN | 22mm Pilot Light | Height opening | 29mm
| 22 | Automation and Control | Industrial Switch | Pilot Lamps | HARMONY XB5 PILOT LIGHT HEAD Ø22 FOR INTEGRAL LED GREEN | 2021053 | ZB5AV033 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-zb5av033_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672CC996595C6758778B1A09D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-ZB5-AV033.pdf?81788B76AEAA939CBEAABDA9B7A95D8E927A8186A86763677EB5B8AB | HARMONY XB5 PILOT LIGHT HEAD Ø22 PLAIN LENS FOR INTEGRAL LED GREEN | 22mm Pilot Light | With front ring | yes
| 23 | Automation and Control | Industrial Switch | Pilot Lamps | HARMONY XB5 PILOT LIGHT HEAD Ø22 FOR INTEGRAL LED GREEN | 2021053 | ZB5AV033 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-zb5av033_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672CC996595C6758778B1A09D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-ZB5-AV033.pdf?81788B76AEAA939CBEAABDA9B7A95D8E927A8186A86763677EB5B8AB | HARMONY XB5 PILOT LIGHT HEAD Ø22 PLAIN LENS FOR INTEGRAL LED GREEN | 22mm Pilot Light | Material front ring | Plastic
| 24 | Automation and Control | Industrial Switch | Pilot Lamps | HARMONY XB5 PILOT LIGHT HEAD Ø22 FOR INTEGRAL LED GREEN | 2021053 | ZB5AV033 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-zb5av033_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672CC996595C6758778B1A09D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-ZB5-AV033.pdf?81788B76AEAA939CBEAABDA9B7A95D8E927A8186A86763677EB5B8AB | HARMONY XB5 PILOT LIGHT HEAD Ø22 PLAIN LENS FOR INTEGRAL LED GREEN | 22mm Pilot Light | Colour front ring | Black
| 25 | Automation and Control | Industrial Switch | Pilot Lamps | HARMONY XB5 PILOT LIGHT HEAD Ø22 FOR INTEGRAL LED GREEN | 2021053 | ZB5AV033 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-zb5av033_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672CC996595C6758778B1A09D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-ZB5-AV033.pdf?81788B76AEAA939CBEAABDA9B7A95D8E927A8186A86763677EB5B8AB | HARMONY XB5 PILOT LIGHT HEAD Ø22 PLAIN LENS FOR INTEGRAL LED GREEN | 22mm Pilot Light | Type of lens | High
| 26 | Automation and Control | Industrial Switch | Pilot Lamps | HARMONY XB5 PILOT LIGHT HEAD Ø22 FOR INTEGRAL LED GREEN | 2021053 | ZB5AV033 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-zb5av033_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672CC996595C6758778B1A09D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-ZB5-AV033.pdf?81788B76AEAA939CBEAABDA9B7A95D8E927A8186A86763677EB5B8AB | HARMONY XB5 PILOT LIGHT HEAD Ø22 PLAIN LENS FOR INTEGRAL LED GREEN | 22mm Pilot Light | Degree of protection (IP), front side | IP66
| 27 | Automation and Control | Industrial Switch | Pilot Lamps | HARMONY XB5 PILOT LIGHT HEAD Ø22 FOR INTEGRAL LED GREEN | 2021053 | ZB5AV033 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-zb5av033_image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672CC996595C6758778B1A09D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-ZB5-AV033.pdf?81788B76AEAA939CBEAABDA9B7A95D8E927A8186A86763677EB5B8AB | HARMONY XB5 PILOT LIGHT HEAD Ø22 PLAIN LENS FOR INTEGRAL LED GREEN | 22mm Pilot Light | Degree of protection (NEMA) | 4X, 13
| 42 | Circuit Breakers and Fuses | Circuit Breakers | MCB | MCB 3P 16A IC=6KA AT 240/415 VAC | 2088385 | QO316VSC6T | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-qo316vsc6t_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672C3A6636586BBC7A888AB8F7DBDA6BBAA83659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-qo316vsc6t.pdf?81788B76AEAA939CBEAABDA9B7A95DA5BF78857BC8AA936AC473C4A9B8 | MCB 3P 16A IC=6KA AT 240/415 VAC | This range of plug-on MCBs is used in Schneider Electric consumer units, Load Centre and Distribution Boards and provides positive connection to the busbar in one quick operation allowing easy installation and maintenance. | Release characteristic | C
| 43 | Circuit Breakers and Fuses | Circuit Breakers | MCB | MCB 3P 16A IC=6KA AT 240/415 VAC | 2088385 | QO316VSC6T | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-qo316vsc6t_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672C3A6636586BBC7A888AB8F7DBDA6BBAA83659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-qo316vsc6t.pdf?81788B76AEAA939CBEAABDA9B7A95DA5BF78857BC8AA936AC473C4A9B8 | MCB 3P 16A IC=6KA AT 240/415 VAC | This range of plug-on MCBs is used in Schneider Electric consumer units, Load Centre and Distribution Boards and provides positive connection to the busbar in one quick operation allowing easy installation and maintenance. | Number of poles (total) | 3
| 44 | Circuit Breakers and Fuses | Circuit Breakers | MCB | MCB 3P 16A IC=6KA AT 240/415 VAC | 2088385 | QO316VSC6T | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-qo316vsc6t_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672C3A6636586BBC7A888AB8F7DBDA6BBAA83659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-qo316vsc6t.pdf?81788B76AEAA939CBEAABDA9B7A95DA5BF78857BC8AA936AC473C4A9B8 | MCB 3P 16A IC=6KA AT 240/415 VAC | This range of plug-on MCBs is used in Schneider Electric consumer units, Load Centre and Distribution Boards and provides positive connection to the busbar in one quick operation allowing easy installation and maintenance. | Rated current | 16A
| 45 | Circuit Breakers and Fuses | Circuit Breakers | MCB | MCB 3P 16A IC=6KA AT 240/415 VAC | 2088385 | QO316VSC6T | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-qo316vsc6t_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672C3A6636586BBC7A888AB8F7DBDA6BBAA83659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-qo316vsc6t.pdf?81788B76AEAA939CBEAABDA9B7A95DA5BF78857BC8AA936AC473C4A9B8 | MCB 3P 16A IC=6KA AT 240/415 VAC | This range of plug-on MCBs is used in Schneider Electric consumer units, Load Centre and Distribution Boards and provides positive connection to the busbar in one quick operation allowing easy installation and maintenance. | Rated short-circuit breaking capacity Icu according to IEC 60947-2 at 400 V | 6kA
| 46 | Tools | Adhesive and Sealant | Adhesive Tapes | TEMFLEX PLUS 19MM X 10M GREEN | 2088802 | XE002023895 | 3M | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5_large.jpg?82A187B27FAF9561807586757F69636C897289A4BE98A29BB573BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5.pdf?82A187B27FAF9561807586757F69636C89728973C29B96 | TEMFLEX PLUS 19MM X 10M GREEN | These tapes are economical tapes that is easy to use and suitable for almost surface. They comply with RoHS 2011/65/EU standard. | Width | 19mm
| 47 | Tools | Adhesive and Sealant | Adhesive Tapes | TEMFLEX PLUS 19MM X 10M GREEN | 2088802 | XE002023895 | 3M | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5_large.jpg?82A187B27FAF9561807586757F69636C897289A4BE98A29BB573BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5.pdf?82A187B27FAF9561807586757F69636C89728973C29B96 | TEMFLEX PLUS 19MM X 10M GREEN | These tapes are economical tapes that is easy to use and suitable for almost surface. They comply with RoHS 2011/65/EU standard. | Material | Polyvinyl chloride (PVC)
| 48 | Tools | Adhesive and Sealant | Adhesive Tapes | TEMFLEX PLUS 19MM X 10M GREEN | 2088802 | XE002023895 | 3M | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5_large.jpg?82A187B27FAF9561807586757F69636C897289A4BE98A29BB573BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5.pdf?82A187B27FAF9561807586757F69636C89728973C29B96 | TEMFLEX PLUS 19MM X 10M GREEN | These tapes are economical tapes that is easy to use and suitable for almost surface. They comply with RoHS 2011/65/EU standard. | Colour | Green
| 49 | Tools | Adhesive and Sealant | Adhesive Tapes | TEMFLEX PLUS 19MM X 10M GREEN | 2088802 | XE002023895 | 3M | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5_large.jpg?82A187B27FAF9561807586757F69636C897289A4BE98A29BB573BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5.pdf?82A187B27FAF9561807586757F69636C89728973C29B96 | TEMFLEX PLUS 19MM X 10M GREEN | These tapes are economical tapes that is easy to use and suitable for almost surface. They comply with RoHS 2011/65/EU standard. | Transparent | no
| 50 | Tools | Adhesive and Sealant | Adhesive Tapes | TEMFLEX PLUS 19MM X 10M GREEN | 2088802 | XE002023895 | 3M | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5_large.jpg?82A187B27FAF9561807586757F69636C897289A4BE98A29BB573BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5.pdf?82A187B27FAF9561807586757F69636C89728973C29B96 | TEMFLEX PLUS 19MM X 10M GREEN | These tapes are economical tapes that is easy to use and suitable for almost surface. They comply with RoHS 2011/65/EU standard. | Fluorescent | no
| 51 | Tools | Adhesive and Sealant | Adhesive Tapes | TEMFLEX PLUS 19MM X 10M GREEN | 2088802 | XE002023895 | 3M | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5_large.jpg?82A187B27FAF9561807586757F69636C897289A4BE98A29BB573BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5.pdf?82A187B27FAF9561807586757F69636C89728973C29B96 | TEMFLEX PLUS 19MM X 10M GREEN | These tapes are economical tapes that is easy to use and suitable for almost surface. They comply with RoHS 2011/65/EU standard. | Photoluminescent (glow in the dark) | no
| 52 | Tools | Adhesive and Sealant | Adhesive Tapes | TEMFLEX PLUS 19MM X 10M GREEN | 2088802 | XE002023895 | 3M | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5_large.jpg?82A187B27FAF9561807586757F69636C897289A4BE98A29BB573BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5.pdf?82A187B27FAF9561807586757F69636C89728973C29B96 | TEMFLEX PLUS 19MM X 10M GREEN | These tapes are economical tapes that is easy to use and suitable for almost surface. They comply with RoHS 2011/65/EU standard. | Length | 10m
| 53 | Tools | Adhesive and Sealant | Adhesive Tapes | TEMFLEX PLUS 19MM X 10M GREEN | 2088802 | XE002023895 | 3M | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5_large.jpg?82A187B27FAF9561807586757F69636C897289A4BE98A29BB573BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5.pdf?82A187B27FAF9561807586757F69636C89728973C29B96 | TEMFLEX PLUS 19MM X 10M GREEN | These tapes are economical tapes that is easy to use and suitable for almost surface. They comply with RoHS 2011/65/EU standard. | Double-sided | no
| 54 | Tools | Adhesive and Sealant | Adhesive Tapes | TEMFLEX PLUS 19MM X 10M GREEN | 2088802 | XE002023895 | 3M | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5_large.jpg?82A187B27FAF9561807586757F69636C897289A4BE98A29BB573BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5.pdf?82A187B27FAF9561807586757F69636C89728973C29B96 | TEMFLEX PLUS 19MM X 10M GREEN | These tapes are economical tapes that is easy to use and suitable for almost surface. They comply with RoHS 2011/65/EU standard. | Insulating | yes
| 55 | Tools | Adhesive and Sealant | Adhesive Tapes | TEMFLEX PLUS 19MM X 10M GREEN | 2088802 | XE002023895 | 3M | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5_large.jpg?82A187B27FAF9561807586757F69636C897289A4BE98A29BB573BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5.pdf?82A187B27FAF9561807586757F69636C89728973C29B96 | TEMFLEX PLUS 19MM X 10M GREEN | These tapes are economical tapes that is easy to use and suitable for almost surface. They comply with RoHS 2011/65/EU standard. | Temperature resistance | 80...80°C
| 56 | Tools | Adhesive and Sealant | Adhesive Tapes | TEMFLEX PLUS 19MM X 10M GREEN | 2088802 | XE002023895 | 3M | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5_large.jpg?82A187B27FAF9561807586757F69636C897289A4BE98A29BB573BEB5B9 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/3m-xe-0020-2389-5.pdf?82A187B27FAF9561807586757F69636C89728973C29B96 | TEMFLEX PLUS 19MM X 10M GREEN | These tapes are economical tapes that is easy to use and suitable for almost surface. They comply with RoHS 2011/65/EU standard. | Thickness | 0.177mm
| 57 | Cable Management | Conduits and Fittings | Conduit Fittings | CONDUIT COUPLING 1120CM IP54 BLACK | 2101823 | US042 BK | UPC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/upc-us042bk_Image1.jpg?A595A694968C73889994B0BAC29A5DA9C3758877B4A28F7DBDA6BBAA83659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/upc-us042bk.pdf?8275857BAEACA0977DBAC7758669929F7EB5B8AB | CONDUIT COUPLING 1120CM IP54 BLACK | UPC Flexible Conduit Fitting is lightweight, flexible and durable and is non flammable. It is also easy to install and maintain with good resistant to corrosion from chemicals and environments. | Material | Polyvinyl chloride (PVC)
| 58 | Cable Management | Conduits and Fittings | Conduit Fittings | CONDUIT COUPLING 1120CM IP54 BLACK | 2101823 | US042 BK | UPC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/upc-us042bk_Image1.jpg?A595A694968C73889994B0BAC29A5DA9C3758877B4A28F7DBDA6BBAA83659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/upc-us042bk.pdf?8275857BAEACA0977DBAC7758669929F7EB5B8AB | CONDUIT COUPLING 1120CM IP54 BLACK | UPC Flexible Conduit Fitting is lightweight, flexible and durable and is non flammable. It is also easy to install and maintain with good resistant to corrosion from chemicals and environments. | Thread connection | External thread metric
| 59 | Cable Management | Conduits and Fittings | Conduit Fittings | CONDUIT COUPLING 1120CM IP54 BLACK | 2101823 | US042 BK | UPC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/upc-us042bk_Image1.jpg?A595A694968C73889994B0BAC29A5DA9C3758877B4A28F7DBDA6BBAA83659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/upc-us042bk.pdf?8275857BAEACA0977DBAC7758669929F7EB5B8AB | CONDUIT COUPLING 1120CM IP54 BLACK | UPC Flexible Conduit Fitting is lightweight, flexible and durable and is non flammable. It is also easy to install and maintain with good resistant to corrosion from chemicals and environments. | Size of threaded connection | 20mm
| 60 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Type of motor starter | Other
| 61 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | With short-circuit release | yes
| 62 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Rated control supply voltage Us at AC 50HZ | 0...0V
| 63 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Rated control supply voltage Us at AC 60HZ | 0...0V
| 64 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Rated control supply voltage Us at DC | 24...24V
| 65 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Voltage type for actuating | DC
| 66 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Rated operation power at AC-3, 230 V, 3-phase | 0kW
| 67 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Rated operation power at AC-3, 400 V | 1.5kW
| 68 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Rated power, 460 V, 60 Hz, 3-phase | 0kW
| 69 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Rated power, 575 V, 60 Hz, 3-phase | 0kW
| 70 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Rated operation current Ie | 5A
| 71 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Rated operation current at AC-3, 400 V | 5A
| 72 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Overload release current setting | 1.25...5A
| 73 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Rated conditional short-circuit current, type 1, 480 Y/277 V | 0A
| 74 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Rated conditional short-circuit current, type 1, 600 Y/347 V | 0A
| 75 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Rated conditional short-circuit current, type 2, 230 V | 0A
| 76 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Rated conditional short-circuit current, type 2, 400 V | 0A
| 77 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Number of auxiliary contacts as normally open contact | 0
| 78 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Number of auxiliary contacts as normally closed contact | 0
| 79 | Automation and Control | Motors and Drives | Motor Starter Combinations | TESYS U MULTIFUNCTION CONTROL UNIT LUCM 1.25-5A 24VDC | 2108609 | LUCM05BL | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-LUCM05BL_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC6729E8C7381807A9691B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lucm05bl.pdf?81788B76AEAA939CBEAABDA9B7A95DA0C5A8C17587999C62C0A9BA | TESYS U MULTIFUNCTION CONTROL UNIT LUCM CLASS 5-30 1.25-5A 24V DC | TeSys U is the most compact motor starter. It covers main motor applications (direct on line, reversers, drive protection) from 0 to 15 kW (0 to 32 A) ensuring a breaking capacity of 50 kA with total coordination (according to IEC 60947-6-2). | Ambient temperature, upper operating limit | 55°C
| 80 | Lighting | Ballast and Controller | Lighting Controller | CCU SERIES BATTERY 12V-18AH 80W 2HRS | 2162496 | CCU 12-80 | SUNNY | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/sunny-ccu-12-80.jpg?A39AA293AB93A3A9BEB3CD72B59AA5618177817D82659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/sunny-ccu-12-80.pdf?A39AA293AB93A3A9BEB3CD72B59AA5618177817D8265A098B6 | CCU SERIES BATTERY 12V-18AH 80W 2HRS | Central Battery Control Unit by CCU Series or the central control unit is used to detect any abnormalities of the main power distribution system. In case of error or emergency, the unit is designed to allow the emergency lighting system to bear large loads or larger loads than that the automatic emergency light (complete unit) can. The 12 VDC unit is compatible with halogen lamp or MR16 LED lamp. The unit installation and usage are centrally controlled so that it supplies power to the lamp installed. | Height | 220mm
| 81 | Lighting | Ballast and Controller | Lighting Controller | CCU SERIES BATTERY 12V-18AH 80W 2HRS | 2162496 | CCU 12-80 | SUNNY | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/sunny-ccu-12-80.jpg?A39AA293AB93A3A9BEB3CD72B59AA5618177817D82659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/sunny-ccu-12-80.pdf?A39AA293AB93A3A9BEB3CD72B59AA5618177817D8265A098B6 | CCU SERIES BATTERY 12V-18AH 80W 2HRS | Central Battery Control Unit by CCU Series or the central control unit is used to detect any abnormalities of the main power distribution system. In case of error or emergency, the unit is designed to allow the emergency lighting system to bear large loads or larger loads than that the automatic emergency light (complete unit) can. The 12 VDC unit is compatible with halogen lamp or MR16 LED lamp. The unit installation and usage are centrally controlled so that it supplies power to the lamp installed. | Width | 100mm
| 82 | Lighting | Ballast and Controller | Lighting Controller | CCU SERIES BATTERY 12V-18AH 80W 2HRS | 2162496 | CCU 12-80 | SUNNY | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/sunny-ccu-12-80.jpg?A39AA293AB93A3A9BEB3CD72B59AA5618177817D82659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/sunny-ccu-12-80.pdf?A39AA293AB93A3A9BEB3CD72B59AA5618177817D8265A098B6 | CCU SERIES BATTERY 12V-18AH 80W 2HRS | Central Battery Control Unit by CCU Series or the central control unit is used to detect any abnormalities of the main power distribution system. In case of error or emergency, the unit is designed to allow the emergency lighting system to bear large loads or larger loads than that the automatic emergency light (complete unit) can. The 12 VDC unit is compatible with halogen lamp or MR16 LED lamp. The unit installation and usage are centrally controlled so that it supplies power to the lamp installed. | Depth | 340mm
| 83 | Lighting | Ballast and Controller | Lighting Controller | CCU SERIES BATTERY 12V-18AH 80W 2HRS | 2162496 | CCU 12-80 | SUNNY | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/sunny-ccu-12-80.jpg?A39AA293AB93A3A9BEB3CD72B59AA5618177817D82659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/sunny-ccu-12-80.pdf?A39AA293AB93A3A9BEB3CD72B59AA5618177817D8265A098B6 | CCU SERIES BATTERY 12V-18AH 80W 2HRS | Central Battery Control Unit by CCU Series or the central control unit is used to detect any abnormalities of the main power distribution system. In case of error or emergency, the unit is designed to allow the emergency lighting system to bear large loads or larger loads than that the automatic emergency light (complete unit) can. The 12 VDC unit is compatible with halogen lamp or MR16 LED lamp. The unit installation and usage are centrally controlled so that it supplies power to the lamp installed. | Operating voltage | 12V
| 84 | Electrical Distribution (LV) | Distribution Box and Enclosure | Enclosures Accessories | OPTION FOR ABL2_K 35MM DIN RAIL INSTALL | 2214428 | ABL2K02 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-ABL2K02_Image1.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC67293797C669B7586A49BA4919BB57682AFC29E | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-abl2k02.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672B3999C66BB758673C29B96 | OPTION FOR ABL2_K 35MM DIN RAIL INSTALL | Clip on mounting plate for 35 mm symmetrical rail. | Model | Shelf
| 85 | Automation and Control | Contactors | Capacitor Contactor | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ 220VAC 50/6 | 2221551 | LC1DPKM7 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A7949A | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ COIL 220VAC 50/60HZ | TeSys D offers multi-standard solutions, high reliability with long mechanical and electrical durability for different sizes, along with the most complete accessories in the industry. TeSys D contactors leverage over 100 years of experience and innovation to control your motors. TeSys D contactors can offer quick simple setup, while maintaining a compact size. | Rated control supply voltage Us at AC 50HZ | 220...220V
| 86 | Automation and Control | Contactors | Capacitor Contactor | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ 220VAC 50/6 | 2221551 | LC1DPKM7 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A7949A | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ COIL 220VAC 50/60HZ | TeSys D offers multi-standard solutions, high reliability with long mechanical and electrical durability for different sizes, along with the most complete accessories in the industry. TeSys D contactors leverage over 100 years of experience and innovation to control your motors. TeSys D contactors can offer quick simple setup, while maintaining a compact size. | Rated control supply voltage Us at AC 60HZ | 220...220V
| 87 | Automation and Control | Contactors | Capacitor Contactor | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ 220VAC 50/6 | 2221551 | LC1DPKM7 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A7949A | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ COIL 220VAC 50/60HZ | TeSys D offers multi-standard solutions, high reliability with long mechanical and electrical durability for different sizes, along with the most complete accessories in the industry. TeSys D contactors leverage over 100 years of experience and innovation to control your motors. TeSys D contactors can offer quick simple setup, while maintaining a compact size. | Rated control supply voltage Us at DC | 0...0V
| 88 | Automation and Control | Contactors | Capacitor Contactor | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ 220VAC 50/6 | 2221551 | LC1DPKM7 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A7949A | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ COIL 220VAC 50/60HZ | TeSys D offers multi-standard solutions, high reliability with long mechanical and electrical durability for different sizes, along with the most complete accessories in the industry. TeSys D contactors leverage over 100 years of experience and innovation to control your motors. TeSys D contactors can offer quick simple setup, while maintaining a compact size. | Voltage type for actuating | AC
| 89 | Automation and Control | Contactors | Capacitor Contactor | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ 220VAC 50/6 | 2221551 | LC1DPKM7 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A7949A | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ COIL 220VAC 50/60HZ | TeSys D offers multi-standard solutions, high reliability with long mechanical and electrical durability for different sizes, along with the most complete accessories in the industry. TeSys D contactors leverage over 100 years of experience and innovation to control your motors. TeSys D contactors can offer quick simple setup, while maintaining a compact size. | Number of auxiliary contacts as normally open contact | 1
| 90 | Automation and Control | Contactors | Capacitor Contactor | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ 220VAC 50/6 | 2221551 | LC1DPKM7 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A7949A | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ COIL 220VAC 50/60HZ | TeSys D offers multi-standard solutions, high reliability with long mechanical and electrical durability for different sizes, along with the most complete accessories in the industry. TeSys D contactors leverage over 100 years of experience and innovation to control your motors. TeSys D contactors can offer quick simple setup, while maintaining a compact size. | Number of auxiliary contacts as normally closed contact | 2
| 91 | Automation and Control | Contactors | Capacitor Contactor | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ 220VAC 50/6 | 2221551 | LC1DPKM7 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A7949A | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ COIL 220VAC 50/60HZ | TeSys D offers multi-standard solutions, high reliability with long mechanical and electrical durability for different sizes, along with the most complete accessories in the industry. TeSys D contactors leverage over 100 years of experience and innovation to control your motors. TeSys D contactors can offer quick simple setup, while maintaining a compact size. | Type of electrical connection of main circuit | Screw connection
| 92 | Automation and Control | Contactors | Capacitor Contactor | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ 220VAC 50/6 | 2221551 | LC1DPKM7 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A7949A | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ COIL 220VAC 50/60HZ | TeSys D offers multi-standard solutions, high reliability with long mechanical and electrical durability for different sizes, along with the most complete accessories in the industry. TeSys D contactors leverage over 100 years of experience and innovation to control your motors. TeSys D contactors can offer quick simple setup, while maintaining a compact size. | Number of normally open contacts as main contact | 3
| 93 | Automation and Control | Contactors | Capacitor Contactor | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ 220VAC 50/6 | 2221551 | LC1DPKM7 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A7949A | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ COIL 220VAC 50/60HZ | TeSys D offers multi-standard solutions, high reliability with long mechanical and electrical durability for different sizes, along with the most complete accessories in the industry. TeSys D contactors leverage over 100 years of experience and innovation to control your motors. TeSys D contactors can offer quick simple setup, while maintaining a compact size. | Number of normally closed contacts as main contact | 0
| 94 | Automation and Control | Contactors | Capacitor Contactor | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ 220VAC 50/6 | 2221551 | LC1DPKM7 | SCHNEIDER ELECTRIC | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.jpg?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/schneider-lc1dpkm7.pdf?A3889C9397807479A2A1C7A8BAA5959DB4AAC672BE9A6198C0B0C17C80A7949A | TESYS DECA CAPACITOR CONTACTOR 30KVAR 400V/50 HZ COIL 220VAC 50/60HZ | TeSys D offers multi-standard solutions, high reliability with long mechanical and electrical durability for different sizes, along with the most complete accessories in the industry. TeSys D contactors leverage over 100 years of experience and innovation to control your motors. TeSys D contactors can offer quick simple setup, while maintaining a compact size. | Rated blind power at 400 V, 50 Hz | 30kvar
| 95 | Cable Management | Cable Protection | Cable Ties | CABLE TIES 368X4.8MM 14 1/2" PA6.6 ANTI UV BLACK (100/PACK) | 2448601 | BIZ 340 017 | BIZLINE | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ340017_Image1.jpg?928EAE919B857590B2AECEB1BBA59561928EAE788667606587A49DB2B39E95657EAFC4AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ340017_Datasheet1.pdf?928EAE919B857590B2AECEB1BBA59561928EAE788667606587A498A6C698A39CB5AAC87680A7949A | CABLE TIES 368X4.8MM 14 1/2" PA6.6 ANTI UV BLACK (100/PACK) | For cable ties there are many sorts of polyamide, the best known being PA 6.6. These materials have excellent chemical and mechanical resistance properties, which differ depending on the type: PA 6.6, PA 11, PA 12, etc. Some polyamides like PA 6.6 are sensitive to temperature and to humidity levels, they may take up or lose water, thus modifying their properties. This effect is known as “water regain”. | Band width | 4.8mm
| 96 | Cable Management | Cable Protection | Cable Ties | CABLE TIES 368X4.8MM 14 1/2" PA6.6 ANTI UV BLACK (100/PACK) | 2448601 | BIZ 340 017 | BIZLINE | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ340017_Image1.jpg?928EAE919B857590B2AECEB1BBA59561928EAE788667606587A49DB2B39E95657EAFC4AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ340017_Datasheet1.pdf?928EAE919B857590B2AECEB1BBA59561928EAE788667606587A498A6C698A39CB5AAC87680A7949A | CABLE TIES 368X4.8MM 14 1/2" PA6.6 ANTI UV BLACK (100/PACK) | For cable ties there are many sorts of polyamide, the best known being PA 6.6. These materials have excellent chemical and mechanical resistance properties, which differ depending on the type: PA 6.6, PA 11, PA 12, etc. Some polyamides like PA 6.6 are sensitive to temperature and to humidity levels, they may take up or lose water, thus modifying their properties. This effect is known as “water regain”. | Length belt/tape/tie | 368mm
| 97 | Cable Management | Cable Protection | Cable Ties | CABLE TIES 368X4.8MM 14 1/2" PA6.6 ANTI UV BLACK (100/PACK) | 2448601 | BIZ 340 017 | BIZLINE | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ340017_Image1.jpg?928EAE919B857590B2AECEB1BBA59561928EAE788667606587A49DB2B39E95657EAFC4AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ340017_Datasheet1.pdf?928EAE919B857590B2AECEB1BBA59561928EAE788667606587A498A6C698A39CB5AAC87680A7949A | CABLE TIES 368X4.8MM 14 1/2" PA6.6 ANTI UV BLACK (100/PACK) | For cable ties there are many sorts of polyamide, the best known being PA 6.6. These materials have excellent chemical and mechanical resistance properties, which differ depending on the type: PA 6.6, PA 11, PA 12, etc. Some polyamides like PA 6.6 are sensitive to temperature and to humidity levels, they may take up or lose water, thus modifying their properties. This effect is known as “water regain”. | Material | Plastic
| 98 | Cable Management | Cable Protection | Cable Ties | CABLE TIES 368X4.8MM 14 1/2" PA6.6 ANTI UV BLACK (100/PACK) | 2448601 | BIZ 340 017 | BIZLINE | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ340017_Image1.jpg?928EAE919B857590B2AECEB1BBA59561928EAE788667606587A49DB2B39E95657EAFC4AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ340017_Datasheet1.pdf?928EAE919B857590B2AECEB1BBA59561928EAE788667606587A498A6C698A39CB5AAC87680A7949A | CABLE TIES 368X4.8MM 14 1/2" PA6.6 ANTI UV BLACK (100/PACK) | For cable ties there are many sorts of polyamide, the best known being PA 6.6. These materials have excellent chemical and mechanical resistance properties, which differ depending on the type: PA 6.6, PA 11, PA 12, etc. Some polyamides like PA 6.6 are sensitive to temperature and to humidity levels, they may take up or lose water, thus modifying their properties. This effect is known as “water regain”. | Material quality | Polyamide (PA)
| 99 | Cable Management | Cable Protection | Cable Ties | CABLE TIES 368X4.8MM 14 1/2" PA6.6 ANTI UV BLACK (100/PACK) | 2448601 | BIZ 340 017 | BIZLINE | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ340017_Image1.jpg?928EAE919B857590B2AECEB1BBA59561928EAE788667606587A49DB2B39E95657EAFC4AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ340017_Datasheet1.pdf?928EAE919B857590B2AECEB1BBA59561928EAE788667606587A498A6C698A39CB5AAC87680A7949A | CABLE TIES 368X4.8MM 14 1/2" PA6.6 ANTI UV BLACK (100/PACK) | For cable ties there are many sorts of polyamide, the best known being PA 6.6. These materials have excellent chemical and mechanical resistance properties, which differ depending on the type: PA 6.6, PA 11, PA 12, etc. Some polyamides like PA 6.6 are sensitive to temperature and to humidity levels, they may take up or lose water, thus modifying their properties. This effect is known as “water regain”. | Colour | Black
| 100 | Switch and Plug | Switches and Sockets | Junction Box | IDROBOX SURFACE MOUNTED HOUSING IP55 3 MODULE GREY | 2448720 | 25503 | BTICINO | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/BTICINO-25503_Image1.jpg?92999D889B857F9092999D889B857F61827A8975859679A1B1ACB97680A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bticino-idrobox-series_Datasheet1.pdf?92999D889B857F90B2B9BDA8BBA59F61B9A9C6B4B4A6A861C3AAC6AEB7AA8F78B1B9B5B8BA9C95A88173C4A9B8 | IDROBOX SURFACE MOUNTED HOUSING IP55 3 MODULE GREY | Idrobox is the BTicino offer for the protected devices: boxes, enclosures and controls, with IP40, IP44, IP55 and IP66 protection levels. Idrobox is the BTicino offer for the protected devices. The wall- and flush mounted containers of this family complete the installation possibilities of the devices of the modular domestic series, extending their use to rooms which require a high housing protection index. | Shape | Rectangular
| 101 | Switch and Plug | Switches and Sockets | Junction Box | IDROBOX SURFACE MOUNTED HOUSING IP55 3 MODULE GREY | 2448720 | 25503 | BTICINO | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/BTICINO-25503_Image1.jpg?92999D889B857F9092999D889B857F61827A8975859679A1B1ACB97680A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bticino-idrobox-series_Datasheet1.pdf?92999D889B857F90B2B9BDA8BBA59F61B9A9C6B4B4A6A861C3AAC6AEB7AA8F78B1B9B5B8BA9C95A88173C4A9B8 | IDROBOX SURFACE MOUNTED HOUSING IP55 3 MODULE GREY | Idrobox is the BTicino offer for the protected devices: boxes, enclosures and controls, with IP40, IP44, IP55 and IP66 protection levels. Idrobox is the BTicino offer for the protected devices. The wall- and flush mounted containers of this family complete the installation possibilities of the devices of the modular domestic series, extending their use to rooms which require a high housing protection index. | Number of inlets | 3
| 102 | Switch and Plug | Switches and Sockets | Junction Box | IDROBOX SURFACE MOUNTED HOUSING IP55 3 MODULE GREY | 2448720 | 25503 | BTICINO | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/BTICINO-25503_Image1.jpg?92999D889B857F9092999D889B857F61827A8975859679A1B1ACB97680A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bticino-idrobox-series_Datasheet1.pdf?92999D889B857F90B2B9BDA8BBA59F61B9A9C6B4B4A6A861C3AAC6AEB7AA8F78B1B9B5B8BA9C95A88173C4A9B8 | IDROBOX SURFACE MOUNTED HOUSING IP55 3 MODULE GREY | Idrobox is the BTicino offer for the protected devices: boxes, enclosures and controls, with IP40, IP44, IP55 and IP66 protection levels. Idrobox is the BTicino offer for the protected devices. The wall- and flush mounted containers of this family complete the installation possibilities of the devices of the modular domestic series, extending their use to rooms which require a high housing protection index. | Material | Plastic
| 103 | Switch and Plug | Switches and Sockets | Junction Box | IDROBOX SURFACE MOUNTED HOUSING IP55 3 MODULE GREY | 2448720 | 25503 | BTICINO | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/BTICINO-25503_Image1.jpg?92999D889B857F9092999D889B857F61827A8975859679A1B1ACB97680A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bticino-idrobox-series_Datasheet1.pdf?92999D889B857F90B2B9BDA8BBA59F61B9A9C6B4B4A6A861C3AAC6AEB7AA8F78B1B9B5B8BA9C95A88173C4A9B8 | IDROBOX SURFACE MOUNTED HOUSING IP55 3 MODULE GREY | Idrobox is the BTicino offer for the protected devices: boxes, enclosures and controls, with IP40, IP44, IP55 and IP66 protection levels. Idrobox is the BTicino offer for the protected devices. The wall- and flush mounted containers of this family complete the installation possibilities of the devices of the modular domestic series, extending their use to rooms which require a high housing protection index. | Colour | Grey
| 104 | Switch and Plug | Switches and Sockets | Junction Box | IDROBOX SURFACE MOUNTED HOUSING IP55 3 MODULE GREY | 2448720 | 25503 | BTICINO | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/BTICINO-25503_Image1.jpg?92999D889B857F9092999D889B857F61827A8975859679A1B1ACB97680A1A09B | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bticino-idrobox-series_Datasheet1.pdf?92999D889B857F90B2B9BDA8BBA59F61B9A9C6B4B4A6A861C3AAC6AEB7AA8F78B1B9B5B8BA9C95A88173C4A9B8 | IDROBOX SURFACE MOUNTED HOUSING IP55 3 MODULE GREY | Idrobox is the BTicino offer for the protected devices: boxes, enclosures and controls, with IP40, IP44, IP55 and IP66 protection levels. Idrobox is the BTicino offer for the protected devices. The wall- and flush mounted containers of this family complete the installation possibilities of the devices of the modular domestic series, extending their use to rooms which require a high housing protection index. | Degree of protection (IP) | IP55
| 105 | Automation and Control | Industrial Switch | Control Switch | HV SINGLE-THROW FUSED SAFETY SWT NEMA 3R 60A 3P 4W 600VAC | 2449423 | DH362FRK | EATON | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/eaton-DH362FRK_Image1.jpg?9586A894A0939595C4B4C272967F636A828BA690B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/eaton-DH362FRK_Datasheet1.pdf?9586A894A0939595C4B4C272967F636A828BA690B17B91A8B1B8BCAAB7AB6162C0A9BA | HEAVY DUTY SINGLE-THROW FUSED SAFETY SWITCH NEMA 3R 60A 3P 4W 600VAC | Eaton Enhanced visible blade single-throw safety switch, 60 A, NEMA 3R, Painted galvanized steel, Class H, Fusible without neutral, Three-pole, Three-wire, 600 V, Max Hp: 20, 25/ 30, 50 hp (1/3PH @480, 600 V), #14-#2 Cu/Al | Max. rated operation voltage Ue AC | 600V
| 106 | Automation and Control | Industrial Switch | Control Switch | HV SINGLE-THROW FUSED SAFETY SWT NEMA 3R 60A 3P 4W 600VAC | 2449423 | DH362FRK | EATON | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/eaton-DH362FRK_Image1.jpg?9586A894A0939595C4B4C272967F636A828BA690B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/eaton-DH362FRK_Datasheet1.pdf?9586A894A0939595C4B4C272967F636A828BA690B17B91A8B1B8BCAAB7AB6162C0A9BA | HEAVY DUTY SINGLE-THROW FUSED SAFETY SWITCH NEMA 3R 60A 3P 4W 600VAC | Eaton Enhanced visible blade single-throw safety switch, 60 A, NEMA 3R, Painted galvanized steel, Class H, Fusible without neutral, Three-pole, Three-wire, 600 V, Max Hp: 20, 25/ 30, 50 hp (1/3PH @480, 600 V), #14-#2 Cu/Al | Rated permanent current Iu | 60A
| 107 | Automation and Control | Industrial Switch | Control Switch | HV SINGLE-THROW FUSED SAFETY SWT NEMA 3R 60A 3P 4W 600VAC | 2449423 | DH362FRK | EATON | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/eaton-DH362FRK_Image1.jpg?9586A894A0939595C4B4C272967F636A828BA690B1809D95B7AA8573BCA797 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/eaton-DH362FRK_Datasheet1.pdf?9586A894A0939595C4B4C272967F636A828BA690B17B91A8B1B8BCAAB7AB6162C0A9BA | HEAVY DUTY SINGLE-THROW FUSED SAFETY SWITCH NEMA 3R 60A 3P 4W 600VAC | Eaton Enhanced visible blade single-throw safety switch, 60 A, NEMA 3R, Painted galvanized steel, Class H, Fusible without neutral, Three-pole, Three-wire, 600 V, Max Hp: 20, 25/ 30, 50 hp (1/3PH @480, 600 V), #14-#2 Cu/Al | Number of poles | 3
| 108 | Tools | Hand Tools | Screwdrivers | INSULATED SCREWDRIVER SLOTTED 3 X 100 1000V | 2460258 | BIZ 700 015 | BIZLINE | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ700015_Image1.jpg?928EAE919B857590B2AECEB1BBA59561928EAE7C8267606585A49DB2B39E95657EAFC4AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ700015_Datasheet1.pdf?928EAE919B857590B2AECEB1BBA59561928EAE7C8267606585A498A6C698A39CB5AAC87680A7949A | INSULATED SCREWDRIVER SLOTTED 3 X 100 1000V | Ergonomic handle for better use and improved torque. Identification facilitated by the head being marked at the top of the handle. | Size | 3
| 109 | Tools | Hand Tools | Screwdrivers | INSULATED SCREWDRIVER SLOTTED 3 X 100 1000V | 2460258 | BIZ 700 015 | BIZLINE | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ700015_Image1.jpg?928EAE919B857590B2AECEB1BBA59561928EAE7C8267606585A49DB2B39E95657EAFC4AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ700015_Datasheet1.pdf?928EAE919B857590B2AECEB1BBA59561928EAE7C8267606585A498A6C698A39CB5AAC87680A7949A | INSULATED SCREWDRIVER SLOTTED 3 X 100 1000V | Ergonomic handle for better use and improved torque. Identification facilitated by the head being marked at the top of the handle. | Total length | 100mm
| 110 | Tools | Hand Tools | Screwdrivers | INSULATED SCREWDRIVER SLOTTED 3 X 100 1000V | 2460258 | BIZ 700 015 | BIZLINE | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ700015_Image1.jpg?928EAE919B857590B2AECEB1BBA59561928EAE7C8267606585A49DB2B39E95657EAFC4AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ700015_Datasheet1.pdf?928EAE919B857590B2AECEB1BBA59561928EAE7C8267606585A498A6C698A39CB5AAC87680A7949A | INSULATED SCREWDRIVER SLOTTED 3 X 100 1000V | Ergonomic handle for better use and improved torque. Identification facilitated by the head being marked at the top of the handle. | Model | Straight
| 111 | Tools | Hand Tools | Screwdrivers | INSULATED SCREWDRIVER SLOTTED 3 X 100 1000V | 2460258 | BIZ 700 015 | BIZLINE | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ700015_Image1.jpg?928EAE919B857590B2AECEB1BBA59561928EAE7C8267606585A49DB2B39E95657EAFC4AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ700015_Datasheet1.pdf?928EAE919B857590B2AECEB1BBA59561928EAE7C8267606585A498A6C698A39CB5AAC87680A7949A | INSULATED SCREWDRIVER SLOTTED 3 X 100 1000V | Ergonomic handle for better use and improved torque. Identification facilitated by the head being marked at the top of the handle. | Insulated | yes
| 112 | Tools | Hand Tools | Screwdrivers | INSULATED SCREWDRIVER SLOTTED 3 X 100 1000V | 2460258 | BIZ 700 015 | BIZLINE | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ700015_Image1.jpg?928EAE919B857590B2AECEB1BBA59561928EAE7C8267606585A49DB2B39E95657EAFC4AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ700015_Datasheet1.pdf?928EAE919B857590B2AECEB1BBA59561928EAE7C8267606585A498A6C698A39CB5AAC87680A7949A | INSULATED SCREWDRIVER SLOTTED 3 X 100 1000V | Ergonomic handle for better use and improved torque. Identification facilitated by the head being marked at the top of the handle. | Isolation protection 1000 V | yes
| 113 | Tools | Hand Tools | Screwdrivers | INSULATED SCREWDRIVER SLOTTED 3 X 100 1000V | 2460258 | BIZ 700 015 | BIZLINE | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ700015_Image1.jpg?928EAE919B857590B2AECEB1BBA59561928EAE7C8267606585A49DB2B39E95657EAFC4AC | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/bizline-BIZ700015_Datasheet1.pdf?928EAE919B857590B2AECEB1BBA59561928EAE7C8267606585A498A6C698A39CB5AAC87680A7949A | INSULATED SCREWDRIVER SLOTTED 3 X 100 1000V | Ergonomic handle for better use and improved torque. Identification facilitated by the head being marked at the top of the handle. | Material handle | Plastic
| 114 | Cables and Wires | Network and Communication Cable |  | FIRE ALARM CABLE 1PR 16AWG (RED) | 2496639 | 9016 | HOSIWELL | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/hosiwell-9016_Image1.jpg?9894A78EA97C7C80ACADC3B8BBAE95A0BC728D75836D8F7DBDA6BBAA83659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/hosiwell-9016_Datasheet1.pdf?9894A78EA97C7C80ACADC3B8BBAE95A0BC728D75836D8F78B1B9B5B8BA9C95A88173C4A9B8 | FIRE ALARM CABLE 1PR 16AWG (RED) | Hosiwell 90XX Series Fire Alarm Cable for power limited fire alarm circuits use. Passes UL type FTL vertical tray flame test. | Conductor material | Copper
| 115 | Cables and Wires | Network and Communication Cable |  | FIRE ALARM CABLE 1PR 16AWG (RED) | 2496639 | 9016 | HOSIWELL | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/hosiwell-9016_Image1.jpg?9894A78EA97C7C80ACADC3B8BBAE95A0BC728D75836D8F7DBDA6BBAA83659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/hosiwell-9016_Datasheet1.pdf?9894A78EA97C7C80ACADC3B8BBAE95A0BC728D75836D8F78B1B9B5B8BA9C95A88173C4A9B8 | FIRE ALARM CABLE 1PR 16AWG (RED) | Hosiwell 90XX Series Fire Alarm Cable for power limited fire alarm circuits use. Passes UL type FTL vertical tray flame test. | Conductor surface | Bare
| 116 | Cables and Wires | Network and Communication Cable |  | FIRE ALARM CABLE 1PR 16AWG (RED) | 2496639 | 9016 | HOSIWELL | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/hosiwell-9016_Image1.jpg?9894A78EA97C7C80ACADC3B8BBAE95A0BC728D75836D8F7DBDA6BBAA83659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/hosiwell-9016_Datasheet1.pdf?9894A78EA97C7C80ACADC3B8BBAE95A0BC728D75836D8F78B1B9B5B8BA9C95A88173C4A9B8 | FIRE ALARM CABLE 1PR 16AWG (RED) | Hosiwell 90XX Series Fire Alarm Cable for power limited fire alarm circuits use. Passes UL type FTL vertical tray flame test. | AWG size | 16
| 117 | Cables and Wires | Network and Communication Cable |  | FIRE ALARM CABLE 1PR 16AWG (RED) | 2496639 | 9016 | HOSIWELL | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/hosiwell-9016_Image1.jpg?9894A78EA97C7C80ACADC3B8BBAE95A0BC728D75836D8F7DBDA6BBAA83659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/hosiwell-9016_Datasheet1.pdf?9894A78EA97C7C80ACADC3B8BBAE95A0BC728D75836D8F78B1B9B5B8BA9C95A88173C4A9B8 | FIRE ALARM CABLE 1PR 16AWG (RED) | Hosiwell 90XX Series Fire Alarm Cable for power limited fire alarm circuits use. Passes UL type FTL vertical tray flame test. | Material outer sheath | Other
| 118 | Cables and Wires | Network and Communication Cable |  | FIRE ALARM CABLE 1PR 16AWG (RED) | 2496639 | 9016 | HOSIWELL | 0 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/hosiwell-9016_Image1.jpg?9894A78EA97C7C80ACADC3B8BBAE95A0BC728D75836D8F7DBDA6BBAA83659AA4B7 | https://pim-kvc.soneparsea.com:3443/PictureServer/default.aspx/hosiwell-9016_Datasheet1.pdf?9894A78EA97C7C80ACADC3B8BBAE95A0BC728D75836D8F78B1B9B5B8BA9C95A88173C4A9B8 | FIRE ALARM CABLE 1PR 16AWG (RED) | Hosiwell 90XX Series Fire Alarm Cable for power limited fire alarm circuits use. Passes UL type FTL vertical tray flame test. | Colour outer sheath | Red

## Province List
Province ID | Province Name
81 | กระบี่
10 | กรุงเทพมหานคร
71 | กาญจนบุรี
46 | กาฬสินธุ์
62 | กำแพงเพชร
40 | ขอนแก่น
22 | จันทบุรี
24 | ฉะเชิงเทรา
20 | ชลบุรี
18 | ชัยนาท
36 | ชัยภูมิ
86 | ชุมพร
92 | ตรัง
23 | ตราด
63 | ตาก
26 | นครนายก
73 | นครปฐม
48 | นครพนม
30 | นครราชสีมา
80 | นครศรีธรรมราช
60 | นครสวรรค์
12 | นนทบุรี
96 | นราธิวาส
55 | น่าน
38 | บึงกาฬ
31 | บุรีรัมย์
13 | ปทุมธานี
77 | ประจวบคีรีขันธ์
25 | ปราจีนบุรี
94 | ปัตตานี
14 | พระนครศรีอยุธยา
56 | พะเยา
82 | พังงา
93 | พัทลุง
66 | พิจิตร
65 | พิษณุโลก
83 | ภูเก็ต
44 | มหาสารคาม
49 | มุกดาหาร
95 | ยะลา
35 | ยโสธร
45 | ร้อยเอ็ด
85 | ระนอง
21 | ระยอง
70 | ราชบุรี
16 | ลพบุรี
52 | ลำปาง
51 | ลำพูน
33 | ศรีสะเกษ
47 | สกลนคร
90 | สงขลา
91 | สตูล
11 | สมุทรปราการ
75 | สมุทรสงคราม
74 | สมุทรสาคร
19 | สระบุรี
27 | สระแก้ว
17 | สิงห์บุรี
72 | สุพรรณบุรี
84 | สุราษฏร์ธานี
32 | สุรินทร์
64 | สุโขทัย
43 | หนองคาย
39 | หนองบัวลำภู
15 | อ่างทอง
37 | อำนาจเจริญ
41 | อุดรธานี
53 | อุตรดิตถ์
61 | อุทัยธานี
34 | อุบลราชธานี
57 | เชียงราย
50 | เชียงใหม่
76 | เพชรบุรี
67 | เพชรบูรณ์
42 | เลย
54 | แพร่
58 | แม่ฮ่องสอน